Supplementary Table 1. Procedural Characteristics.

|  |  |
| --- | --- |
| Characteristic | n = 80 |
| Local anaesthesia with sedation | 65 (81.3) |
| Pre-dilation | 39 (48.8) |
| Transcatheter heart valve |  |
|  23 mm Evolut PRO | 1 (1.3) |
|  26 mm Evolut PRO | 17 (21.3) |
|  29 mm Evolut PRO | 35 (43.8) |
|  34 mm Evolut R | 27 (33.8) |
| THV implantation depth | 6.2 ± 2.3 |
|  Non-coronary cusp | 5.5 ± 2.6 |
|  Left coronary cusp | 6.9 ± 2.4 |
| Post-dilation | 8 (10.0) |

THV denotes transcatheter heart valve.