Troponin, delta change and the evolution of cardiac biomarkers – back to the future (again).

Professor Paul Collinson.

Departments of Clinical Blood Sciences and Cardiology

St George’s University Hospitals NHS Foundation Trust and St George’s University of London.

Cranmer Terrace, London SW17 0QT

Words 1897

Figures 0

References 48

Background

The diagnosis of myocardial infarction (MI) was originally considered fatal. It was not until Thomas Herrick demonstrated in 1912 that angina and myocardial infarction were separate clinical entities and not fatal (1) that the concept of cardiovascular diagnosis was launched. The first diagnostic test was the electrocardiogram (ECG) (2). This was followed by interest in the use of markers of inflammation, indirect by measurement of the white cell count and direct with measurement of C reactive protein (CRP). The first of the “traditional” cardiac enzymes was aspartate transaminase, first described by Arthur Karmen in 1954, followed by lactate dehydrogenase (LD) and its isoenzymes, hydroxybutyrate activity (as a surrogate for LD isoenzyme 1) and creatine kinase (CK) and its isoenzymes (3). The use of cardiac enzyme measurements, especially measurement of CK and its more cardiac specific MB isoenzyme, CK-MB was incorporated into the definition of myocardial infarction agreed by the World Health Organisation (WHO) (4).

3.1 Acute Myocardial Infarction The clinical diagnosis of acute myocardial infarction

is usually based on the history, the ECG, and serum enzymes.

A. History. The history is typical if severe and prolonged chest pain is present. Sometimes the history is atypical and the pain may be mild or even absent or other symptoms may predominate.

B. ECG. Unequivocal changes in ECG are the development of abnormal, persistent Q or QS waves,

and evolving injury current lasting longer than 1 day. When the ECG shows these unequivocal changes, the diagnosis may be made on the ECG alone. In other cases, the ECG may show equivocal changes, consisting of a) a stationary injury current, b) a symmetrical inversion of the T wave, c) a pathological Q wave in a single ECG record, or d) conduction disturbances.

C. Serum Enzymes. a) Unequivocal change consists of serial change, or initial rise and subsequent fall of the serum level. The change must be properly related to the particular enzyme and to the delay time between onset of symptoms and blood sampling. Elevation of cardiospecific isoenzymes is also considered unequivocal change.

The key features at this point are the primacy of the ECG and the use of term “unequivocal change”. Unequivocal change has been subsequently interpreted as decision limits twice the upper limit of normal (5). A value at or exceeding twice the upper reference limit (3.92 SD) corresponds to a probability that the result obtained is normal of 0.0044% and a probability of abnormality of 99.9956%.

The traditional approach was daily measurement of CK, AST and HBD or LD with a sequential rise and fall of the three markers over 3 days used to confirm the clinical diagnosis of MI. The cardiac enzyme panel was cheap and the timeframe matched the clinical care in use at the time (bed rest followed by slow mobilisation). More rapid diagnosis was possible by the use of serial measurement of the earliest rising markers, CK and CK-MB( 6). The need for a more rapid diagnosis to rule out myocardial infarction was recognised more in the United States where missed MI was a significant cause of Emergency Department (ED) malpractice claims (as the US had at that time 5 % of the world’s population but 50% of the worlds lawyers). Serial measurement over 6-8 hours allowed safe rule out and discharge (7). The only significant changes at this point were the development of immunoassay methods for CK-MB (8) and the evolutionary cul-de-sac of CK isoforms (9). Interest in more rapid diagnosis was revived by the advent of active management of myocardial infarction with thrombolytic therapy and anti-platelet agents as well as primary angioplasty.

The troponin paradigm

Immunoassay for cardiac specific proteins was developed initially in the late 1980’s heralded as part of the transformation of medicine by molecular biology (which is now starting to occur). The first documented test was for cardiac troponin I (cTnI) described by Cummins (10) in 1987 followed by the description in 1989 by Hugo Katus of the troponin T immunoassay (11). Whereas cTnT was patented by Boheringer-Mannheim cTnI was freely available. The first commercially successful immunoassay for cTnI was the Dade assay on a stat immunoassay platform (12), followed by other manufacturers producing assays of variable performance. The Boehringer assay was on a batch immunoassay platform (a considerable throughput disadvantage). At this point there was intense competition to introduce this new (and expensive) assay into routine clinical practice and obtain market share. The era of the “troponin wars” began with marketing claim and counterclaim (often not science based) of the “my assay is better than yours” and especially “cTnT is better than cTnI” and vice versa. This has resulted in some of the myths that are still with us and laid the foundations of the current clinician confusion,

There were two problems at this point. First, how to convince clinicians that this new test should replace their existing tests. Second, how to replace a set of tests that cost pence (or cents) with a test costing £20-30 (or euros). Sadly, we are not all regularly confronted with the scenario of the finance department ringing the laboratory head to urge them to spend more money. There were a number of factors that led to the adoption of cTnT and cTnI measurement. First was the demonstration that, in patients with unstable angina as adjudicated by current tests, cTnT (13) or cTnI (14) could be detected. This elevated cTnT or cTnI predicted a significant risk of the major adverse cardiac events (MACE) of death, subsequent myocardial infarction, readmission with a further episode of unstable angina or need for urgent revascularisation. Measurement of cTnT and cTnI were therefore diagnostically superior when assessed against independent outcomes, Second was the demonstration that in patients with unstable angina, an elevated cTnT or cTnI predicted a favourable response to intervention with antithrombotic (15) or antiplatelet medications (16) and revascularisation (17). Third, diagnosis of myocardial infarction was at that point using cardiac enzymes twice the upper reference limit. It was therefore possible to define a decision limit for cTnT and cTnI that conferred excellent sensitivity and specificity for the diagnosis of MI. This was not surprising as the “Gold standard” used was an inferior, less sensitive and much less specific test. The relative insensitivity of early assays meant troponin was undetectable in “normals”. The ED physicians and cardiologists now had a test that supported the binary diagnosis MI/no MI, simplifying clinical decision making (and some would say the death of clinical patient assessment). Finally, a single measurement 10-12 hours from admission was all that was required, allowing earlier discharge, hence improving patient flow. The troponin era was born.

The diagnostic and prognostic superiority of cTnT and cTnI led to the discussion initially at the AACC (5) and then within the ESC for the redefinition of MI with troponin as preferred biomarker (18). The key events from the laboratory perspective were the shift to the 99th percentile of cTn and the proposed imprecision goal of a CV of 10% or better at the 99th percentile. This was not met by any of the assays available at the time and led to manufacturers developing progressively more sensitive assays culminating in high sensitivity assay development.

Assay evolution and the development of high sensitivity assays.

There has been progressive improvement in assay performance with each new generation of troponin assay released (19). Improved assay performance may improve analytical specificity, such as reduced cross reactivity, but newer assays may produce different results from existing assays due to detection of different forms of cardiac troponin (20). Improved assay performance may reduce the number of analytical false positives (outliers) although these still occur (21) and need to be investigated as they may have causes such as reagent pack size and frequency of test utilisation (22). However, old problems, such as carryover, may still remain (23) and new problems, such as assay interference from biotin (24) appear.

The shift in diagnostic classification from an insensitive to a sensitive test, the use of the 99th percentile (a diagnostic discriminant that utilises a 1% probability of normality in an elevated value compared to a 0.0044% probability) and improvement in assay sensitivity resulted in the detection of troponin elevation outside the ACS population. This was, in fact, not a new finding (25) and had been shown in the original assays (12) (where choice of cut off ensured specificity). At the same time it resulted in the detection (and treatment) of more patients with ischaemic myocardial injury (26).

These shifts produced an existential crisis in both ED physicians and cardiologists with discussions of “troponinitis” and suggestions that less sensitive assays should be used, However, the consistent demonstration that troponin elevation (whatever the cause) was associated with an adverse prognosis means that a more nuanced approach is possible. The challenge is to distinguish between acute myocardial injury due to treatable conditions (most commonly acute plaque rupture/erosion with thrombosis) and acute myocardial injury secondary to other causes where ischaemic may or may not be a contributory factor and treatment of the underlying condition is required (27). These secondary injury cases are, paradoxically, more common that primary acute myocardial injury (28). High sensitivity troponin also allows identification of previously unsuspected myocardial injury in novel patient groups ranging from perioperative monitoring (29) to anthracycline toxicity (30). Improvement in assay sensitivity also suggests that the use of additional markers such as heart fatty acid binding protein and co-peptin (31) used to improve sensitivity in the early period following MI may not be required (32).

The advent of high sensitivity assays capable of measuring low levels of troponin with good precision has resulted in evaluation of a range of strategies for rapid diagnosis (33) including single measurement on admission (34;35) and short interval serial (1-2 hour) measurement strategies (36;37). Such strategies may be difficult to realise in routine clinical practice and short sampling intervals using low level cut offs, the 99th percentile and a delta value may be more appropriate (38). The importance of delta values cannot be overstated. Delta change for rapid diagnosis has previously been applied for rapid diagnosis where analytes have a wide reference interval (39;40). The biological variation of troponin is modest compared to the reference interval with a low index of individuality (41) even in chronic conditions such as renal failure where troponin is elevated (42;43). Hence use of a delta value will significantly improve diagnostic sensitivity, especially for rule out MI. There is a caveat here however. The delta values produced in research papers do not come from routine clinical use but from well controlled batch analysis on a single instrument. It has been suggested that at low troponin levels in routine clinical use, such levels of imprecision may not be achievable (44) a problem compounded when multiple analysers are used (45). Although rapid rule out has been proposed in ESC guidelines (46), the strategy is based on observational studies and not randomised clinical trials. From the laboratory perspective, very short analytical turnarounds are required, ideally suited to point of care testing (POCT) instruments. To date, no POCT method meet the analytical goals required to use these protocols.

The new frontier of troponin measurements will be in the management of chronic disease. There is convincing evidence that troponin measurement in the apparently healthy population correlates with underlying health status (47), outcome and response to statin treatment (48). The challenge will be to convert this into clinical management pathways.

Competing interests and other declarations None

Reference List

1. Herrick JB. Landmark article (JAMA 1912). Clinical features of sudden obstruction of the coronary arteries. By James B. Herrick. JAMA 1983;250:1757-65.

2. Lewis T. Electro-cardiography and its Importance in the Clinical Examination of Heart Affections. Br Med J 1912;1:1479-82.

3. Collinson PO, Garrison L, Christenson RH. Cardiac biomarkers - A short biography. Clin Biochem 2015 ;48:197-200.

4. Nomenclature and criteria for diagnosis of ischemic heart disease. Report of the Joint International Society and Federation of Cardiology/World Health Organization task force on standardization of clinical nomenclature. Circulation 1979;59:607-9.

5. Wu AH, Apple FS, Gibler WB, Jesse RL, Warshaw MM, Valdes R, Jr. National Academy of Clinical Biochemistry Standards of Laboratory Practice: recommendations for the use of cardiac markers in coronary artery diseases. Clin Chem 1999;45:1104-21.

6. Collinson PO, Rosalki SB, Flather M, Wolman R, Evans T. Early diagnosis of myocardial infarction by timed sequential enzyme measurements. Ann Clin Biochem 1988;25:376-82.

7. Gibler WB, Young GP, Hedges JR, Lewis LM, Smith MS, Carleton SC et al. Acute myocardial infarction in chest pain patients with nondiagnostic ECGs: serial CK-MB sampling in the emergency department. The Emergency Medicine Cardiac Research Group. Ann Emerg Med 1992;21:504-12.

8. Vaidya HC, Maynard Y, Dietzler DN, Ladenson JH. Direct measurement of creatine kinase-MB activity in serum after extraction with a monoclonal antibody specific to the MB isoenzyme. Clin Chem 1986;32:657-63.

9. Wu AH. Creatine kinase isoforms in ischemic heart disease. Clin Chem 1989;35:7-13.

10. Cummins B, Auckland ML, Cummins P. Cardiac-specific troponin-I radioimmunoassay in the diagnosis of acute myocardial infarction. Am Heart J 1987;113:1333-44.

11. Katus HA, Remppis A, Looser S, Hallermeier K, Scheffold T, Kubler W. Enzyme linked immuno assay of cardiac troponin T for the detection of acute myocardial infarction in patients. J Mol Cell Cardiol 1989;21:1349-53.

12. Adams JE, III, Bodor GS, Davila-Roman VG, Delmez JA, Apple FS, Ladenson JH, Jaffe AS. Cardiac troponin I. A marker with high specificity for cardiac injury [see comments]. Circulation 1993;88:101-6.

13. Stubbs P, Collinson P, Moseley D, Greenwood T, Noble M. Prospective study of the role of cardiac troponin T in patients admitted with unstable angina [see comments]. BMJ 1996;313:262-4.

14. Galvani M, Ottani F, Ferrini D, Ladenson JH, Destro A, Baccos D et al. Prognostic influence of elevated values of cardiac troponin I in patients with unstable angina. Circulation 1997;95:2053-9.

15. Lindahl B, Venge P, Wallentin L. Relation between troponin T and the risk of subsequent cardiac events in unstable coronary artery disease. The FRISC study group [see comments]. Circulation 1996;93:1651-7.

16. Hamm CW, Heeschen C, Goldmann B, Vahanian A, Adgey J, Miguel CM et al. Benefit of abciximab in patients with refractory unstable angina in relation to serum troponin T levels. c7E3 Fab Antiplatelet Therapy in Unstable Refractory Angina (CAPTURE) Study Investigators [published erratum appears in N Engl J Med 1999 Aug 12;341(7):548] [see comments]. N Engl J Med 1999;340:1623-9.

17. Morrow DA, Rifai N, Tanasijevic MJ, Wybenga DR, de Lemos JA, Antman EM. Clinical efficacy of three assays for cardiac troponin I for risk stratification in acute coronary syndromes: a Thrombolysis In Myocardial Infarction (TIMI) 11B Substudy [see comments]. Clin Chem 2000;46:453-60.

18. Myocardial infarction redefined--a consensus document of The Joint European Society of Cardiology/American College of Cardiology Committee for the redefinition of myocardial infarction. Eur Heart J 2000;21:1502-13.

19. Moretti M, Pieretti B, Sisti D, Rocchi M, Gasperoni S. Analytical performance and clinical decision limit of a new release for cardiac troponin I assay. Ann Clin Biochem 2015;52:169-72.

20. Kondo T, Kobayashi D, Mochizuki M, Asanuma K, Takahashi S. Analysis of the causes of discrepancies in troponin I concentrations as measured by ARCHITECT High-Sensitive Troponin I ST and STACIA CLEIA cTnI. Ann Clin Biochem 2017;54:121-6.

21. Sawyer N, Blennerhassett J, Lambert R, Sheehan P, Vasikaran SD. Outliers affecting cardiac troponin I measurement: comparison of a new high sensitivity assay with a contemporary assay on the Abbott ARCHITECT analyser. Ann Clin Biochem 2014;51:476-84.

22. Kavsak PA, Clark L, Lancaster S, Don-Wauchope AC. Within-run precision and outlier detection for the Abbott ARCHITECT cardiac troponin I assay. Ann Clin Biochem 2014;51:512-4.

23. Wilgen U, Pretorius CJ, Gould MJ, Ungerer JP. Cardiac Troponin I carryover by very high patient samples still causes false-positive results on the Beckman Coulter AccuTnI + 3. Ann Clin Biochem 2016;53:177-9.

24. Trambas C, Lu Z, Yen T, Sikaris K. Characterization of the scope and magnitude of biotin interference in susceptible Roche Elecsys competitive and sandwich immunoassays. Ann Clin Biochem 2018;55:205-15.

25. Collinson PO, Hadcocks L, Foo Y, ROSALKI SB, Stubbs PJ, Morgan SH, O'Donnell J. Cardiac troponins in patients with renal dysfunction. Ann Clin Biochem 1998;35 ( Pt 3):380-6.

26. Mills NL, Churchhouse AM, Lee KK, Anand A, Gamble D, Shah AS et al. Implementation of a sensitive troponin I assay and risk of recurrent myocardial infarction and death in patients with suspected acute coronary syndrome. JAMA 2011;305:1210-6.

27. Collinson P, Lindahl B. Type 2 myocardial infarction: the chimaera of cardiology? Heart 2015;101:1697-703.

28. Shah ASV, Sandoval Y, Noaman A, Sexter A, Vaswani A, Smith SW et al. Patient selection for high sensitivity cardiac troponin testing and diagnosis of myocardial infarction: prospective cohort study. BMJ 2017;359:j4788.

29. Lee GR, Jhanji S, Tarrant H, James S, Pearse RM, Fitzgibbon M. Peri-operative troponin monitoring using a prototype high-sensitivity cardiac troponin I (hs-cTnI) assay: comparisons with hs-cTnT and contemporary cTnI assays. Ann Clin Biochem 2014;51:258-68.

30. Jones M, O'Gorman P, Kelly C, Mahon N, Fitzgibbon MC. High-sensitive cardiac troponin-I facilitates timely detection of subclinical anthracycline-mediated cardiac injury. Ann Clin Biochem 2017;54:149-57.

31. Jacobs LH, van BM, Gemen E, van EM, van SB, Glatz JF et al. Rapidly rule out acute myocardial infarction by combining copeptin and heart-type fatty acid-binding protein with cardiac troponin. Ann Clin Biochem 2015;52:550-61.

32. Liou K, Ho S, Ooi SY. Heart-type fatty acid binding protein in early diagnosis of myocardial infarction in the era of high-sensitivity troponin: a systematic review and meta-analysis. Ann Clin Biochem 2015;52:370-81.

33. Collinson P. High-sensitivity troponin measurements: challenges and opportunities for the laboratory and the clinician. Ann Clin Biochem 2016;53:191-5.

34. Body R, Burrows G, Carley S, Lewis PS. Rapid exclusion of acute myocardial infarction in patients with undetectable troponin using a sensitive troponin I assay. Ann Clin Biochem 2015;52:543-9.

35. Pickering JW, Than MP, Cullen L, Aldous S, Ter AE, Body R et al. Rapid Rule-out of Acute Myocardial Infarction With a Single High-Sensitivity Cardiac Troponin T Measurement Below the Limit of Detection: A Collaborative Meta-analysis. Ann Intern Med 2017;166:715-24.

36. Cullen L, Mueller C, Parsonage WA, Wildi K, Greenslade JH, Twerenbold R et al. Validation of high-sensitivity troponin I in a 2-hour diagnostic strategy to assess 30-day outcomes in emergency department patients with possible acute coronary syndrome. J Am Coll Cardiol 2013;62:1242-9.

37. Reichlin T, Schindler C, Drexler B, Twerenbold R, Reiter M, Zellweger C et al. One-Hour Rule-out and Rule-in of Acute Myocardial Infarction Using High-Sensitivity Cardiac Troponin T. Arch Intern Med 2012;172:1211-8.

38. Chapman AR, Anand A, Boeddinghaus J, Ferry AV, Sandeman D, Adamson PD et al. Comparison of the Efficacy and Safety of Early Rule Out Pathways for Acute Myocardial Infarction. Circulation 2016.

39. Collinson PO, Rosalki SB, Flather M, Wolman R, Evans T. Early diagnosis of myocardial infarction by timed sequential enzyme measurements. Ann Clin Biochem 1988;25:376-82.

40. Hedges JR, Young GP, Henkel GF, Gibler WB, Green TR, Swanson JR. Serial ECGs are less accurate than serial CK-MB results for emergency department diagnosis of myocardial infarction. Ann Emerg Med 1992;21:1445-50.

41. Apple FS, Collinson PO. Analytical Characteristics of High-Sensitivity Cardiac Troponin Assays. Clin Chem 2012;58:54-61.

42. Corte Z, Garcia C, Venta R. Biological variation of cardiac troponin T in patients with end-stage renal disease and in healthy individuals. Ann Clin Biochem 2015;52:53-60.

43. Mbagaya W, Luvai A, Lopez B. Biological variation of cardiac troponin in stable haemodialysis patients. Ann Clin Biochem 2015;52:562-8.

44. Kavsak PA, Don-Wauchope AC, Hill SA, Worster A. Acceptable Analytical Variation May Exceed High-Sensitivity Cardiac Troponin I Cutoffs in Early Rule-Out and Rule-In Acute Myocardial Infarction Algorithms. Clin Chem 2016;62:887-9.

45. Pethick J, Patel P, Davies T, Thompson J, Nallagonda M, Beech A et al. The effect of multiple analysers on the biochemical diagnosis of myocardial infarction using a contemporary troponin-I assay. Ann Clin Biochem 2016;53:702-5.

46. Roffi M, Patrono C, Collet JP, Mueller C, Valgimigli M, Andreotti F et al. 2015 ESC Guidelines for the management of acute coronary syndromes in patients presenting without persistent ST-segment elevation: Task Force for the Management of Acute Coronary Syndromes in Patients Presenting without Persistent ST-Segment Elevation of the European Society of Cardiology (ESC). Eur Heart J 2016;37:267-315.

47. Sze J, Mooney J, Barzi F, Hillis GS, Chow CK. Cardiac Troponin and its Relationship to Cardiovascular Outcomes in Community Populations - A Systematic Review and Meta-analysis. Heart Lung Circ 2016;25:217-28.

48. Ford I, Shah AS, Zhang R, McAllister DA, Strachan FE, Caslake M et al. High-Sensitivity Cardiac Troponin, Statin Therapy, and Risk of Coronary Heart Disease. J Am Coll Cardiol 2016;68:2719-28.