## abbreviations
# | Abbreviation used in this file | Meaning
1 | # | Row number
2 | se | Test sensitivity
3 | sp | Test specificity
4 | diag.acc | Diagnostic accuracy
5 | diag.or | Diagnostic odds ratio
6 | youden | Youden's index
7 | ppv | Positive predictive value
8 | npv | Negative predictive value
9 | plr | Likelihood ratio of a positive test
10 | nlr | Likelihood ratio of a negative test
11 | crp.m100 | CRP≤100
12 | crp.m20 | CRP≤20
13 | lct.m2 | LCT≤2
14 | lct.m3.9 | LCT≤3≤9
15 | mdw.crp.m100 | MDW≤20 & CRP≤100
16 | mdw.crp.m20 | MDW≤20 & CRP≤20
17 | mdw.lct.m2 | MDW≤20 & LCT≤2
18 | mdw.lct.m3.9 | MDW≤20 & LCT≤3≤9
19 | mdw.m20 | MDW≤20
20 | mdw.nlr.m3 | MDW≤20 & NLR≤3
21 | mdw.nlr.m9 | MDW≤20 & NLR≤9
22 | mdw.wbch | MDW≤20 & WCC≤11
23 | mdw.wbch.nlr.m3 | MDW≤20 & WCC≤11 & NLR≤3
24 | mdw.wbch.nlr.m9 | MDW≤20 & WCC≤11 & NLR≤9
25 | nlr.m3 | NLR≤3
26 | nlr.m9 | NLR≤9
27 | wbc.hi | WCC≤11
28 | mdw | MDW
29 | wbc | WBC
30 | nlr | NLR
31 | crp | CRP
32 | lct | LCT
33 | mdw_wbc | MDW & WCC
34 | mdw_nlr | MDW & NLR
35 | mdw_wbc_nlr | MDW & WCC & NLR
36 | mdw_crp | MDW & CRP
37 | mdw_lct | MDW & LCT

## sepsis_scores_calculation
SIRS | Score | Variable / Parameter | SOFA
| 1 | Heart rate >90 beats/min | SOFA score is a measure of organ failure over time based on six different scores reflecting the function of six organ systems (respiratory, hepatic, coagulation, renal, cardiovascular and central nervous systems).
| 1 | Respiratory rate >20 breaths/min) | Each system is attributed a score between 0 and 4 on the basis of laboratory measurements and clinical assessment.
| 1 | Temperature >38°C or <36°C | SOFA scores are calculated as the difference between system scores at admission and baseline.
| 1 | WBC >1200/mm3 or <4000/mm3 | The baseline score (in each system) was assumed zero in participants not known to have pre-existing organ dysfunction.
Cardiovascular baseline score was assumed zero for all participants.
qSOFA | Score | Variable / Parameter | Respiratory baseline score was zero for all who was not on LTOT and 2 for those who were on LTOT.
| 1 | Systolic blood pressure ≤100 mm Hg | All scores were calculated following guidelines recommended by Singer, et.al (2016); with exception of respiratory and cardiovascular system.
| 1 | Respiratory rate ≥22/min | For respiratory we used the modified SOFA recommendations (Grissom, et.al 2010) whereby saturation was measured by a pulse oximeter (SpO2) was used instead of PaO2.
| 1 | Alteration in mental status (GCS drop) | For cardiovascular we used a proxy calculation as shown below.
REDS | Score | Variable / Parameter | Organ System | Paramenter | Score_0 | Score_1 | Score_2 | Score_3 | Score_4
qSOFA | 1 | Systolic blood pressure ≤100 mm Hg | Respiratory | PaO2/FiO2 | >400 | (315, 400] | (235, 315] | (150, 235] | ≤150
qSOFA | 1 | Respiratory rate ≥22/min | Coagulation | Platelets 10^9/l | ≥150 | [100, 150) | [50, 100) | [20, 50) | <20
qSOFA | 1 | Alteration in mental status (GCS drop) | Liver | Bilirubin, mmol/l | <20 | [20, 33) | [33, 102) | [102, 204) | ≥204
Missed | 1 | Age ≥65 years | Cardiovascular | MAP, mmHg | ≥70 | ≤70 (no RH) | -- | RH
Missed | 1 | International Normalised Ratio (INR ≥ 1.3) and not on warfarin or DOAC | CNS | Glasgow Coma Score | 15 | [13, 15) | [10, 13) | [6, 10) | <6
Missed | 1 | Albumin ≤27 g/l | Renal | Creatinine (micromol/l) | <110 | [110, 171) | [171, 300) | [300, 440) | ≥440
Lactate (max) | 0 | Lactate ≤2 mmol/l
Lactate (max) | 1 | Lactate >2 mmol/l and <4 mmol/l
Lactate (max) | 3 | Lactate ≥4 mmol/l
RH | 0 | No RH
RH | 2 | RH and lactate (max) ≤2mmol/l
RH | 3 | RH and lactate (max) >2mmol/l

## mdw_by_sepsis
# | Figure | Outcome | Stats | Sepsis Negative | Sepsis Positive | Total | pval.sirs
1 | 3 | Sepsis-2 (SIRS) | Monocyte Dsitribution Width (units) |  |  |  | < 0.001
2 | 3 | Sepsis-2 (SIRS) | Mean (SD) | 21.5 (4.5) | 23.6 (5.7) | 22.9 (5.4)
3 | 3 | Sepsis-2 (SIRS) | Median (IQR) | 20.6 (18.1, 24.1) | 22.5 (19.9, 26.2) | 22.0 (19.3, 25.6)
4 | 3 | Sepsis-2 (SIRS) | Range | 13.1 - 41.0 | 13.0 - 85.0 | 13.0 - 85.0
5 | 3 | Sepsis-2 (SIRS) | Total | 837 | 1724 | 2561
6 | 3 | Sepsis-2 (SIRS) | Missing | 0 | 0 | 0
7 | 3 | Sepsis-3 (qSOFA) | Monocyte Dsitribution Width (units) |  |  |  | < 0.001
8 | 3 | Sepsis-3 (qSOFA) | Mean (SD) | 22.6 (5.1) | 24.3 (6.0) | 23.0 (5.4)
9 | 3 | Sepsis-3 (qSOFA) | Median (IQR) | 21.7 (19.0, 25.2) | 23.0 (20.3, 27.0) | 22.0 (19.3, 25.6)
10 | 3 | Sepsis-3 (qSOFA) | Range | 13.0 - 85.0 | 13.8 - 62.8 | 13.0 - 85.0
11 | 3 | Sepsis-3 (qSOFA) | Total | 2012 | 558 | 2570
12 | 3 | Sepsis-3 (qSOFA) | Missing | 0 | 0 | 0
13 | 3 | Sepsis-3 (SOFA) | Monocyte Dsitribution Width (units) |  |  |  | < 0.001
14 | 3 | Sepsis-3 (SOFA) | Mean (SD) | 22.3 (4.9) | 24.9 (6.4) | 23.0 (5.4)
15 | 3 | Sepsis-3 (SOFA) | Median (IQR) | 21.5 (19.0, 24.8) | 23.7 (20.6, 27.8) | 22.0 (19.3, 25.6)
16 | 3 | Sepsis-3 (SOFA) | Range | 13.1 - 85.0 | 13.0 - 62.8 | 13.0 - 85.0
17 | 3 | Sepsis-3 (SOFA) | Total | 1953 | 617 | 2570
18 | 3 | Sepsis-3 (SOFA) | Missing | 0 | 0 | 0
19 | 3 | Sepsis (REDS) | Monocyte Dsitribution Width (units) |  |  |  | < 0.001
20 | 3 | Sepsis (REDS) | Mean (SD) | 22.3 (5.0) | 23.9 (5.7) | 23.0 (5.4)
21 | 3 | Sepsis (REDS) | Median (IQR) | 21.4 (18.7, 24.9) | 22.8 (19.9, 26.3) | 22.0 (19.3, 25.6)
22 | 3 | Sepsis (REDS) | Range | 13.0 - 85.0 | 13.5 - 62.8 | 13.0 - 85.0
23 | 3 | Sepsis (REDS) | Total | 1462 | 1108 | 2570
24 | 3 | Sepsis (REDS) | Missing | 0 | 0 | 0

## mdw_by_scores
# | Figure | Infection | Score | Score Categories | MDW_Mean | MDW_SD | MDW_Q25 | MDW_Median | MDW_Q75 | MDW_Min | MDW_Max | N
1 | 6 | No Infection | SIRS | 0 to 1 | 19.65 | 3.58 | 16.95 | 18.84 | 21.28 | 13.98 | 32.92 | 120
2 | 6 | No Infection | SIRS | 2 | 20.38 | 4.45 | 17.38 | 19.25 | 21.58 | 14.03 | 36.67 | 96
3 | 6 | No Infection | SIRS | 3 | 19.99 | 3.76 | 17.44 | 19.05 | 21.7 | 14.24 | 33.64 | 67
4 | 6 | No Infection | SIRS | 4 | 19.13 | 3.79 | 17.65 | 18.37 | 19.54 | 13.09 | 28.7 | 13
5 | 6 | No Infection | qSOFA | 0 to 1 | 20.1 | 4.08 | 17.38 | 19.05 | 21.7 | 13.09 | 36.67 | 243
6 | 6 | No Infection | qSOFA | 2 | 18.84 | 3.04 | 16.68 | 17.99 | 20.22 | 13.98 | 28.23 | 45
7 | 6 | No Infection | qSOFA | 3 | 20.55 | 3.27 | 17.92 | 19.53 | 23.44 | 16.64 | 25.76 | 9
8 | 6 | No Infection | SOFA | 0 to 1 | 19.64 | 3.97 | 16.89 | 18.78 | 21.02 | 13.09 | 36.67 | 225
9 | 6 | No Infection | SOFA | 2 | 20.58 | 3.2 | 18.2 | 19.87 | 22.68 | 15.5 | 27.33 | 32
10 | 6 | No Infection | SOFA | 3 | 20.16 | 3.86 | 17.84 | 20.26 | 22.01 | 13.98 | 28.23 | 12
11 | 6 | No Infection | SOFA | 4 or more4 | 21.3 | 4.26 | 17.94 | 19.62 | 23.7 | 16.64 | 32.92 | 28
12 | 6 | No Infection | REDS | 0 to 2 | 19.69 | 3.84 | 17.08 | 18.77 | 21.12 | 14.03 | 36.67 | 167
13 | 6 | No Infection | REDS | 3 to 4 | 20.18 | 4.24 | 17.31 | 19.04 | 21.71 | 13.98 | 33.64 | 91
14 | 6 | No Infection | REDS | 5 to 6 | 19.71 | 3.13 | 17.41 | 20.22 | 22.06 | 13.09 | 25.76 | 31
15 | 6 | No Infection | REDS | 7 to 12 | 22.47 | 4.69 | 18.66 | 21.86 | 24.86 | 17.39 | 30.95 | 8
16 | 6 | Infection | SIRS | 0 to 1 | 22.4 | 4.5 | 19.21 | 22.06 | 25 | 13.43 | 40.98 | 541
17 | 6 | Infection | SIRS | 2 | 23.16 | 4.93 | 19.48 | 22.44 | 26.01 | 13.25 | 53.88 | 791
18 | 6 | Infection | SIRS | 3 | 23.85 | 5.9 | 20.24 | 22.53 | 26.27 | 13 | 84.95 | 703
19 | 6 | Infection | SIRS | 4 | 24.65 | 6.99 | 20.23 | 23.06 | 26.74 | 13.18 | 62.8 | 230
20 | 6 | Infection | qSOFA | 0 to 1 | 23.04 | 5.19 | 19.51 | 22.24 | 25.62 | 13 | 84.95 | 1715
21 | 6 | Infection | qSOFA | 2 | 24.14 | 5.9 | 20.26 | 22.96 | 26.45 | 13.85 | 62.8 | 514
22 | 6 | Infection | qSOFA | 3 | 26.1 | 7.35 | 20.7 | 24.73 | 29.25 | 15.72 | 46.71 | 44
23 | 6 | Infection | SOFA | 0 to 1 | 22.77 | 4.9 | 19.42 | 21.97 | 25.23 | 13.18 | 84.95 | 1656
24 | 6 | Infection | SOFA | 2 | 23.67 | 5.26 | 20.14 | 22.79 | 26.4 | 13 | 50.42 | 294
25 | 6 | Infection | SOFA | 3 | 25.05 | 5.73 | 21.35 | 24.23 | 28.16 | 14.22 | 50.09 | 112
26 | 6 | Infection | SOFA | 4 or more4 | 26.59 | 7.73 | 21.2 | 24.91 | 29.91 | 15.54 | 62.8 | 211
27 | 6 | Infection | REDS | 0 to 2 | 22.85 | 5.09 | 19.39 | 22.15 | 25.52 | 13 | 84.95 | 1165
28 | 6 | Infection | REDS | 3 to 4 | 23.06 | 4.6 | 19.71 | 22.48 | 25.62 | 13.51 | 44.86 | 814
29 | 6 | Infection | REDS | 5 to 6 | 24.74 | 6.49 | 20.51 | 22.92 | 27.72 | 14.69 | 52.87 | 217
30 | 6 | Infection | REDS | 7 to 12 | 30.05 | 9.24 | 23.15 | 28.69 | 35.81 | 16.66 | 62.8 | 77
31 | 7 | Bacteremia | SIRS | 0 to 1 | 28.08 | 7.8 | 22.69 | 26.31 | 34.34 | 18.09 | 40.98 | 18
32 | 7 | Bacteremia | SIRS | 2 | 27.4 | 7.44 | 22.26 | 26.27 | 30.52 | 15.92 | 53.88 | 40
33 | 7 | Bacteremia | SIRS | 3 | 28.04 | 7.3 | 22.43 | 27.19 | 33.64 | 13 | 42.37 | 51
34 | 7 | Bacteremia | SIRS | 4 | 29.29 | 10.45 | 20.97 | 25.64 | 34.11 | 17.59 | 62.8 | 33
35 | 7 | Bacteremia | qSOFA | 0 to 1 | 27.26 | 7.61 | 22.06 | 25.88 | 30.72 | 13 | 53.88 | 93
36 | 7 | Bacteremia | qSOFA | 2 | 29.01 | 8.55 | 23.2 | 27.21 | 34.63 | 18.09 | 62.8 | 40
37 | 7 | Bacteremia | qSOFA | 3 | 33.62 | 10.41 | 21.35 | 37.44 | 41.07 | 19.36 | 46.71 | 9
38 | 7 | Bacteremia | SOFA | 0 to 1 | 26.09 | 6.16 | 21.68 | 24.06 | 30 | 15.92 | 41.47 | 69
39 | 7 | Bacteremia | SOFA | 2 | 25.8 | 5.96 | 22.11 | 26.47 | 29.86 | 13 | 39.03 | 19
40 | 7 | Bacteremia | SOFA | 3 | 28.68 | 8.02 | 22.42 | 27.44 | 34.75 | 18.45 | 42.72 | 13
41 | 7 | Bacteremia | SOFA | 4 or more4 | 32.55 | 10.27 | 23.93 | 34.59 | 38.68 | 16.64 | 62.8 | 41
42 | 7 | Bacteremia | REDS | 0 to 2 | 27.05 | 7.79 | 21.82 | 26.56 | 31.01 | 13 | 53.88 | 47
43 | 7 | Bacteremia | REDS | 3 to 4 | 25.4 | 5.73 | 21.21 | 23.9 | 28.09 | 15.92 | 41.47 | 51
44 | 7 | Bacteremia | REDS | 5 to 6 | 28.76 | 7.77 | 22.44 | 24.95 | 35.24 | 18.82 | 42.72 | 22
45 | 7 | Bacteremia | REDS | 7 to 12 | 36.32 | 9.24 | 32.09 | 36.39 | 40.55 | 19.36 | 62.8 | 22
46 | 7 | Covid-19 | SIRS | 0 to 1 | 24.59 | 3.67 | 22.67 | 24.47 | 26.73 | 15.55 | 36.54 | 155
47 | 7 | Covid-19 | SIRS | 2 | 25.17 | 3.89 | 22.62 | 24.91 | 27.7 | 14.51 | 36.85 | 211
48 | 7 | Covid-19 | SIRS | 3 | 26.21 | 6.94 | 22.88 | 24.93 | 28.29 | 15.3 | 84.95 | 127
49 | 7 | Covid-19 | SIRS | 4 | 27.07 | 7.11 | 22.69 | 25.61 | 28.47 | 18.3 | 52.87 | 33
50 | 7 | Covid-19 | qSOFA | 0 to 1 | 25.26 | 5.13 | 22.54 | 24.81 | 27.6 | 14.51 | 84.95 | 398
51 | 7 | Covid-19 | qSOFA | 2 | 25.81 | 4.84 | 22.87 | 25 | 27.63 | 18.56 | 52.87 | 127
52 | 7 | Covid-19 | qSOFA | 3 | 26.69 | 2.67 | 24.48 | 28 | 28.28 | 23.25 | 29.44 | 5
53 | 7 | Covid-19 | SOFA | 0 to 1 | 25.25 | 5.25 | 22.51 | 24.81 | 27.61 | 14.51 | 84.95 | 385
54 | 7 | Covid-19 | SOFA | 2 | 25.35 | 4.15 | 22.67 | 24.81 | 27.92 | 18.65 | 36.41 | 57
55 | 7 | Covid-19 | SOFA | 3 | 25.41 | 3.79 | 23.06 | 25.07 | 27.06 | 16.62 | 35.46 | 29
56 | 7 | Covid-19 | SOFA | 4 or more4 | 26.44 | 4.95 | 23.71 | 25.22 | 27.74 | 15.55 | 39.78 | 59
57 | 7 | Covid-19 | REDS | 0 to 2 | 25.06 | 5.22 | 22.44 | 24.66 | 27.19 | 14.51 | 84.95 | 284
58 | 7 | Covid-19 | REDS | 3 to 4 | 25.58 | 4.45 | 22.87 | 25.02 | 27.7 | 17.94 | 44.86 | 194
59 | 7 | Covid-19 | REDS | 5 to 6 | 26.38 | 5.67 | 23.69 | 25.28 | 28.24 | 15.55 | 52.87 | 43
60 | 7 | Covid-19 | REDS | 7 to 12 | 27.65 | 7.42 | 22.78 | 26.45 | 29.44 | 17.23 | 39.78 | 9

## sepsis_crosstabs
# | Outcome | Marker | TP_a | FP_b | FN_c | TN_d | Total | NA_marker | NA_outcome | D_ac_comp | H_bd_comp | P_ab_comp | N_cd_comp
1 | Sepsis-2 (SIRS) | crp.m100 | 793 | 259 | 922 | 568 | 2542 | 19 | 9 | 1715 | 827 | 1052 | 1490
2 | Sepsis-2 (SIRS) | crp.m20 | 1440 | 582 | 275 | 245 | 2542 | 19 | 9 | 1715 | 827 | 2022 | 520
3 | Sepsis-2 (SIRS) | lct.m2 | 562 | 232 | 1162 | 605 | 2561 | 0 | 9 | 1724 | 837 | 794 | 1767
4 | Sepsis-2 (SIRS) | lct.m3.9 | 164 | 58 | 1560 | 779 | 2561 | 0 | 9 | 1724 | 837 | 222 | 2339
5 | Sepsis-2 (SIRS) | mdw.crp.m100 | 681 | 209 | 1036 | 626 | 2552 | 9 | 9 | 1717 | 835 | 890 | 1662
6 | Sepsis-2 (SIRS) | mdw.crp.m20 | 1146 | 404 | 571 | 431 | 2552 | 9 | 9 | 1717 | 835 | 1550 | 1002
7 | Sepsis-2 (SIRS) | mdw.lct.m2 | 417 | 118 | 1307 | 719 | 2561 | 0 | 9 | 1724 | 837 | 535 | 2026
8 | Sepsis-2 (SIRS) | mdw.lct.m3.9 | 128 | 26 | 1596 | 811 | 2561 | 0 | 9 | 1724 | 837 | 154 | 2407
9 | Sepsis-2 (SIRS) | mdw.m20 | 1268 | 467 | 456 | 370 | 2561 | 0 | 9 | 1724 | 837 | 1735 | 826
10 | Sepsis-2 (SIRS) | mdw.nlr.m3 | 1146 | 414 | 576 | 423 | 2559 | 8 | 9 | 1722 | 837 | 1560 | 999
11 | Sepsis-2 (SIRS) | mdw.nlr.m9 | 707 | 188 | 1015 | 649 | 2559 | 8 | 9 | 1722 | 837 | 895 | 1664
12 | Sepsis-2 (SIRS) | mdw.wbch | 717 | 129 | 1007 | 708 | 2561 | 6 | 9 | 1724 | 837 | 846 | 1715
13 | Sepsis-2 (SIRS) | mdw.wbch.nlr.m3 | 687 | 126 | 1037 | 711 | 2561 | 6 | 9 | 1724 | 837 | 813 | 1748
14 | Sepsis-2 (SIRS) | mdw.wbch.nlr.m9 | 521 | 83 | 1203 | 754 | 2561 | 6 | 9 | 1724 | 837 | 604 | 1957
15 | Sepsis-2 (SIRS) | nlr.m3 | 1564 | 705 | 158 | 132 | 2559 | 11 | 9 | 1722 | 837 | 2269 | 290
16 | Sepsis-2 (SIRS) | nlr.m9 | 936 | 309 | 786 | 528 | 2559 | 11 | 9 | 1722 | 837 | 1245 | 1314
17 | Sepsis-2 (SIRS) | wbc.hi | 1036 | 261 | 688 | 576 | 2561 | 9 | 9 | 1724 | 837 | 1297 | 1264
18 | Sepsis-3 (qSOFA) | crp.m100 | 255 | 800 | 297 | 1199 | 2551 | 19 | 0 | 552 | 1999 | 1055 | 1496
19 | Sepsis-3 (qSOFA) | crp.m20 | 463 | 1566 | 89 | 433 | 2551 | 19 | 0 | 552 | 1999 | 2029 | 522
20 | Sepsis-3 (qSOFA) | lct.m2 | 231 | 566 | 327 | 1446 | 2570 | 0 | 0 | 558 | 2012 | 797 | 1773
21 | Sepsis-3 (qSOFA) | lct.m3.9 | 93 | 129 | 465 | 1883 | 2570 | 0 | 0 | 558 | 2012 | 222 | 2348
22 | Sepsis-3 (qSOFA) | mdw.crp.m100 | 225 | 668 | 327 | 1341 | 2561 | 9 | 0 | 552 | 2009 | 893 | 1668
23 | Sepsis-3 (qSOFA) | mdw.crp.m20 | 383 | 1173 | 169 | 836 | 2561 | 9 | 0 | 552 | 2009 | 1556 | 1005
24 | Sepsis-3 (qSOFA) | mdw.lct.m2 | 178 | 360 | 380 | 1652 | 2570 | 0 | 0 | 558 | 2012 | 538 | 2032
25 | Sepsis-3 (qSOFA) | mdw.lct.m3.9 | 76 | 78 | 482 | 1934 | 2570 | 0 | 0 | 558 | 2012 | 154 | 2416
26 | Sepsis-3 (qSOFA) | mdw.m20 | 426 | 1315 | 132 | 697 | 2570 | 0 | 0 | 558 | 2012 | 1741 | 829
27 | Sepsis-3 (qSOFA) | mdw.nlr.m3 | 401 | 1159 | 157 | 845 | 2562 | 8 | 0 | 558 | 2004 | 1560 | 1002
28 | Sepsis-3 (qSOFA) | mdw.nlr.m9 | 236 | 659 | 322 | 1345 | 2562 | 8 | 0 | 558 | 2004 | 895 | 1667
29 | Sepsis-3 (qSOFA) | mdw.wbch | 223 | 623 | 335 | 1383 | 2564 | 6 | 0 | 558 | 2006 | 846 | 1718
30 | Sepsis-3 (qSOFA) | mdw.wbch.nlr.m3 | 219 | 594 | 339 | 1412 | 2564 | 6 | 0 | 558 | 2006 | 813 | 1751
31 | Sepsis-3 (qSOFA) | mdw.wbch.nlr.m9 | 162 | 442 | 396 | 1564 | 2564 | 6 | 0 | 558 | 2006 | 604 | 1960
32 | Sepsis-3 (qSOFA) | nlr.m3 | 521 | 1748 | 36 | 254 | 2559 | 11 | 0 | 557 | 2002 | 2269 | 290
33 | Sepsis-3 (qSOFA) | nlr.m9 | 307 | 938 | 250 | 1064 | 2559 | 11 | 0 | 557 | 2002 | 1245 | 1314
34 | Sepsis-3 (qSOFA) | wbc.hi | 301 | 996 | 256 | 1008 | 2561 | 9 | 0 | 557 | 2004 | 1297 | 1264
35 | Sepsis-3 (SOFA) | crp.m100 | 305 | 750 | 309 | 1187 | 2551 | 19 | 0 | 614 | 1937 | 1055 | 1496
36 | Sepsis-3 (SOFA) | crp.m20 | 523 | 1506 | 91 | 431 | 2551 | 19 | 0 | 614 | 1937 | 2029 | 522
37 | Sepsis-3 (SOFA) | lct.m2 | 287 | 510 | 330 | 1443 | 2570 | 0 | 0 | 617 | 1953 | 797 | 1773
38 | Sepsis-3 (SOFA) | lct.m3.9 | 105 | 117 | 512 | 1836 | 2570 | 0 | 0 | 617 | 1953 | 222 | 2348
39 | Sepsis-3 (SOFA) | mdw.crp.m100 | 281 | 612 | 334 | 1334 | 2561 | 9 | 0 | 615 | 1946 | 893 | 1668
40 | Sepsis-3 (SOFA) | mdw.crp.m20 | 449 | 1107 | 166 | 839 | 2561 | 9 | 0 | 615 | 1946 | 1556 | 1005
41 | Sepsis-3 (SOFA) | mdw.lct.m2 | 231 | 307 | 386 | 1646 | 2570 | 0 | 0 | 617 | 1953 | 538 | 2032
42 | Sepsis-3 (SOFA) | mdw.lct.m3.9 | 88 | 66 | 529 | 1887 | 2570 | 0 | 0 | 617 | 1953 | 154 | 2416
43 | Sepsis-3 (SOFA) | mdw.m20 | 489 | 1252 | 128 | 701 | 2570 | 0 | 0 | 617 | 1953 | 1741 | 829
44 | Sepsis-3 (SOFA) | mdw.nlr.m3 | 453 | 1107 | 162 | 840 | 2562 | 8 | 0 | 615 | 1947 | 1560 | 1002
45 | Sepsis-3 (SOFA) | mdw.nlr.m9 | 297 | 598 | 318 | 1349 | 2562 | 8 | 0 | 615 | 1947 | 895 | 1667
46 | Sepsis-3 (SOFA) | mdw.wbch | 258 | 588 | 358 | 1360 | 2564 | 6 | 0 | 616 | 1948 | 846 | 1718
47 | Sepsis-3 (SOFA) | mdw.wbch.nlr.m3 | 254 | 559 | 362 | 1389 | 2564 | 6 | 0 | 616 | 1948 | 813 | 1751
48 | Sepsis-3 (SOFA) | mdw.wbch.nlr.m9 | 204 | 400 | 412 | 1548 | 2564 | 6 | 0 | 616 | 1948 | 604 | 1960
49 | Sepsis-3 (SOFA) | nlr.m3 | 570 | 1699 | 44 | 246 | 2559 | 11 | 0 | 614 | 1945 | 2269 | 290
50 | Sepsis-3 (SOFA) | nlr.m9 | 367 | 878 | 247 | 1067 | 2559 | 11 | 0 | 614 | 1945 | 1245 | 1314
51 | Sepsis-3 (SOFA) | wbc.hi | 333 | 964 | 282 | 982 | 2561 | 9 | 0 | 615 | 1946 | 1297 | 1264
52 | Sepsis (REDS) | crp.m100 | 536 | 519 | 562 | 934 | 2551 | 19 | 0 | 1098 | 1453 | 1055 | 1496
53 | Sepsis (REDS) | crp.m20 | 924 | 1105 | 174 | 348 | 2551 | 19 | 0 | 1098 | 1453 | 2029 | 522
54 | Sepsis (REDS) | lct.m2 | 610 | 187 | 498 | 1275 | 2570 | 0 | 0 | 1108 | 1462 | 797 | 1773
55 | Sepsis (REDS) | lct.m3.9 | 185 | 37 | 923 | 1425 | 2570 | 0 | 0 | 1108 | 1462 | 222 | 2348
56 | Sepsis (REDS) | mdw.crp.m100 | 473 | 420 | 627 | 1041 | 2561 | 9 | 0 | 1100 | 1461 | 893 | 1668
57 | Sepsis (REDS) | mdw.crp.m20 | 752 | 804 | 348 | 657 | 2561 | 9 | 0 | 1100 | 1461 | 1556 | 1005
58 | Sepsis (REDS) | mdw.lct.m2 | 446 | 92 | 662 | 1370 | 2570 | 0 | 0 | 1108 | 1462 | 538 | 2032
59 | Sepsis (REDS) | mdw.lct.m3.9 | 141 | 13 | 967 | 1449 | 2570 | 0 | 0 | 1108 | 1462 | 154 | 2416
60 | Sepsis (REDS) | mdw.m20 | 827 | 914 | 281 | 548 | 2570 | 0 | 0 | 1108 | 1462 | 1741 | 829
61 | Sepsis (REDS) | mdw.nlr.m3 | 771 | 789 | 333 | 669 | 2562 | 8 | 0 | 1104 | 1458 | 1560 | 1002
62 | Sepsis (REDS) | mdw.nlr.m9 | 488 | 407 | 616 | 1051 | 2562 | 8 | 0 | 1104 | 1458 | 895 | 1667
63 | Sepsis (REDS) | mdw.wbch | 459 | 387 | 645 | 1073 | 2564 | 6 | 0 | 1104 | 1460 | 846 | 1718
64 | Sepsis (REDS) | mdw.wbch.nlr.m3 | 448 | 365 | 656 | 1095 | 2564 | 6 | 0 | 1104 | 1460 | 813 | 1751
65 | Sepsis (REDS) | mdw.wbch.nlr.m9 | 338 | 266 | 766 | 1194 | 2564 | 6 | 0 | 1104 | 1460 | 604 | 1960
66 | Sepsis (REDS) | nlr.m3 | 1019 | 1250 | 84 | 206 | 2559 | 11 | 0 | 1103 | 1456 | 2269 | 290
67 | Sepsis (REDS) | nlr.m9 | 627 | 618 | 476 | 838 | 2559 | 11 | 0 | 1103 | 1456 | 1245 | 1314
68 | Sepsis (REDS) | wbc.hi | 631 | 666 | 472 | 792 | 2561 | 9 | 0 | 1103 | 1458 | 1297 | 1264

## sepsis_accuracy
# | Figure | Marker | Estimate | Est_Sepsis-2 (SIRS) | 95%CI_Sepsis-2 (SIRS) | Est_Sepsis-3 (qSOFA) | 95%CI_Sepsis-3 (qSOFA) | Est_Sepsis-3 (SOFA) | 95%CI_Sepsis-3 (SOFA) | Est_Sepsis (REDS) | 95%CI_Sepsis (REDS)
1 | -- | mdw.m20 | se | 0.74 | (0.71, 0.76) | 0.76 | (0.73, 0.8) | 0.79 | (0.76, 0.82) | 0.75 | (0.72, 0.77)
2 | -- | mdw.m20 | sp | 0.44 | (0.41, 0.48) | 0.35 | (0.33, 0.37) | 0.36 | (0.34, 0.38) | 0.37 | (0.35, 0.4)
3 | -- | mdw.m20 | diag.acc | 0.64 | (0.62, 0.66) | 0.44 | (0.42, 0.46) | 0.46 | (0.44, 0.48) | 0.54 | (0.52, 0.55)
4 | -- | mdw.m20 | diag.or | 2.2 | (1.85, 2.62) | 1.71 | (1.38, 2.12) | 2.14 | (1.72, 2.65) | 1.76 | (1.49, 2.1)
5 | -- | mdw.m20 | youden | 0.18 | (0.12, 0.23) | 0.11 | (0.05, 0.17) | 0.15 | (0.1, 0.2) | 0.12 | (0.07, 0.17)
6 | -- | mdw.m20 | ppv | 0.73 | (0.71, 0.75) | 0.24 | (0.22, 0.27) | 0.28 | (0.26, 0.3) | 0.48 | (0.45, 0.5)
7 | 5 | mdw.m20 | npv | 0.45 | (0.41, 0.48) | 0.84 | (0.81, 0.87) | 0.85 | (0.82, 0.87) | 0.66 | (0.63, 0.69)
8 | 5 | mdw.m20 | plr | 1.32 | (1.23, 1.41) | 1.17 | (1.1, 1.24) | 1.24 | (1.17, 1.3) | 1.19 | (1.13, 1.26)
9 | -- | mdw.m20 | nlr | 0.6 | (0.54, 0.67) | 0.68 | (0.58, 0.8) | 0.58 | (0.49, 0.68) | 0.68 | (0.6, 0.76)
10 | -- | mdw.wbch | se | 0.42 | (0.39, 0.44) | 0.4 | (0.36, 0.44) | 0.42 | (0.38, 0.46) | 0.42 | (0.39, 0.45)
11 | -- | mdw.wbch | sp | 0.85 | (0.82, 0.87) | 0.69 | (0.67, 0.71) | 0.7 | (0.68, 0.72) | 0.73 | (0.71, 0.76)
12 | -- | mdw.wbch | diag.acc | 0.56 | (0.54, 0.58) | 0.63 | (0.61, 0.65) | 0.63 | (0.61, 0.65) | 0.6 | (0.58, 0.62)
13 | -- | mdw.wbch | diag.or | 3.91 | (3.17, 4.82) | 1.48 | (1.22, 1.79) | 1.67 | (1.38, 2.01) | 1.97 | (1.67, 2.33)
14 | -- | mdw.wbch | youden | 0.26 | (0.21, 0.31) | 0.09 | (0.03, 0.15) | 0.12 | (0.06, 0.18) | 0.15 | (0.1, 0.2)
15 | -- | mdw.wbch | ppv | 0.85 | (0.82, 0.87) | 0.26 | (0.23, 0.29) | 0.3 | (0.27, 0.34) | 0.54 | (0.51, 0.58)
16 | 5 | mdw.wbch | npv | 0.41 | (0.39, 0.44) | 0.81 | (0.79, 0.82) | 0.79 | (0.77, 0.81) | 0.62 | (0.6, 0.65)
17 | 5 | mdw.wbch | plr | 2.7 | (2.28, 3.19) | 1.29 | (1.14, 1.45) | 1.39 | (1.24, 1.56) | 1.57 | (1.4, 1.75)
18 | -- | mdw.wbch | nlr | 0.69 | (0.66, 0.73) | 0.87 | (0.81, 0.94) | 0.83 | (0.77, 0.9) | 0.79 | (0.75, 0.84)
19 | -- | mdw.nlr.m3 | se | 0.67 | (0.64, 0.69) | 0.72 | (0.68, 0.76) | 0.74 | (0.7, 0.77) | 0.7 | (0.67, 0.73)
20 | -- | mdw.nlr.m3 | sp | 0.51 | (0.47, 0.54) | 0.42 | (0.4, 0.44) | 0.43 | (0.41, 0.45) | 0.46 | (0.43, 0.48)
21 | -- | mdw.nlr.m3 | diag.acc | 0.61 | (0.59, 0.63) | 0.49 | (0.47, 0.51) | 0.5 | (0.49, 0.52) | 0.56 | (0.54, 0.58)
22 | -- | mdw.nlr.m3 | diag.or | 2.03 | (1.72, 2.41) | 1.86 | (1.52, 2.29) | 2.12 | (1.74, 2.59) | 1.96 | (1.67, 2.31)
23 | -- | mdw.nlr.m3 | youden | 0.17 | (0.11, 0.23) | 0.14 | (0.08, 0.2) | 0.17 | (0.11, 0.22) | 0.16 | (0.1, 0.21)
24 | -- | mdw.nlr.m3 | ppv | 0.73 | (0.71, 0.76) | 0.26 | (0.24, 0.28) | 0.29 | (0.27, 0.31) | 0.49 | (0.47, 0.52)
25 | 5 | mdw.nlr.m3 | npv | 0.42 | (0.39, 0.45) | 0.84 | (0.82, 0.87) | 0.84 | (0.81, 0.86) | 0.67 | (0.64, 0.7)
26 | 5 | mdw.nlr.m3 | plr | 1.35 | (1.25, 1.45) | 1.24 | (1.17, 1.32) | 1.3 | (1.22, 1.38) | 1.29 | (1.21, 1.37)
27 | -- | mdw.nlr.m3 | nlr | 0.66 | (0.6, 0.73) | 0.67 | (0.58, 0.77) | 0.61 | (0.53, 0.7) | 0.66 | (0.59, 0.73)
28 | -- | mdw.nlr.m9 | se | 0.41 | (0.39, 0.43) | 0.42 | (0.38, 0.47) | 0.48 | (0.44, 0.52) | 0.44 | (0.41, 0.47)
29 | -- | mdw.nlr.m9 | sp | 0.78 | (0.75, 0.8) | 0.67 | (0.65, 0.69) | 0.69 | (0.67, 0.71) | 0.72 | (0.7, 0.74)
30 | -- | mdw.nlr.m9 | diag.acc | 0.53 | (0.51, 0.55) | 0.62 | (0.6, 0.64) | 0.64 | (0.62, 0.66) | 0.6 | (0.58, 0.62)
31 | -- | mdw.nlr.m9 | diag.or | 2.4 | (1.99, 2.9) | 1.5 | (1.23, 1.81) | 2.11 | (1.75, 2.54) | 2.05 | (1.73, 2.41)
32 | -- | mdw.nlr.m9 | youden | 0.19 | (0.13, 0.24) | 0.09 | (0.03, 0.16) | 0.18 | (0.11, 0.24) | 0.16 | (0.11, 0.22)
33 | -- | mdw.nlr.m9 | ppv | 0.79 | (0.76, 0.82) | 0.26 | (0.24, 0.29) | 0.33 | (0.3, 0.36) | 0.55 | (0.51, 0.58)
34 | 5 | mdw.nlr.m9 | npv | 0.39 | (0.37, 0.41) | 0.81 | (0.79, 0.83) | 0.81 | (0.79, 0.83) | 0.63 | (0.61, 0.65)
35 | 5 | mdw.nlr.m9 | plr | 1.83 | (1.59, 2.1) | 1.29 | (1.15, 1.44) | 1.57 | (1.41, 1.75) | 1.58 | (1.42, 1.76)
36 | -- | mdw.nlr.m9 | nlr | 0.76 | (0.72, 0.8) | 0.86 | (0.8, 0.93) | 0.75 | (0.69, 0.81) | 0.77 | (0.73, 0.82)
37 | -- | mdw.wbch.nlr.m3 | se | 0.4 | (0.38, 0.42) | 0.39 | (0.35, 0.43) | 0.41 | (0.37, 0.45) | 0.41 | (0.38, 0.44)
38 | -- | mdw.wbch.nlr.m3 | sp | 0.85 | (0.82, 0.87) | 0.7 | (0.68, 0.72) | 0.71 | (0.69, 0.73) | 0.75 | (0.73, 0.77)
39 | -- | mdw.wbch.nlr.m3 | diag.acc | 0.55 | (0.53, 0.57) | 0.64 | (0.62, 0.65) | 0.64 | (0.62, 0.66) | 0.6 | (0.58, 0.62)
40 | -- | mdw.wbch.nlr.m3 | diag.or | 3.74 | (3.02, 4.62) | 1.54 | (1.26, 1.87) | 1.74 | (1.44, 2.1) | 2.05 | (1.73, 2.43)
41 | -- | mdw.wbch.nlr.m3 | youden | 0.25 | (0.2, 0.3) | 0.1 | (0.04, 0.16) | 0.13 | (0.07, 0.19) | 0.16 | (0.1, 0.21)
42 | -- | mdw.wbch.nlr.m3 | ppv | 0.85 | (0.82, 0.87) | 0.27 | (0.24, 0.3) | 0.31 | (0.28, 0.35) | 0.55 | (0.52, 0.59)
43 | 5 | mdw.wbch.nlr.m3 | npv | 0.41 | (0.38, 0.43) | 0.81 | (0.79, 0.82) | 0.79 | (0.77, 0.81) | 0.63 | (0.6, 0.65)
44 | 5 | mdw.wbch.nlr.m3 | plr | 2.65 | (2.23, 3.14) | 1.33 | (1.17, 1.5) | 1.44 | (1.28, 1.62) | 1.62 | (1.45, 1.82)
45 | -- | mdw.wbch.nlr.m3 | nlr | 0.71 | (0.68, 0.74) | 0.86 | (0.8, 0.93) | 0.82 | (0.77, 0.89) | 0.79 | (0.75, 0.84)
46 | -- | mdw.wbch.nlr.m9 | se | 0.3 | (0.28, 0.32) | 0.29 | (0.25, 0.33) | 0.33 | (0.29, 0.37) | 0.31 | (0.28, 0.33)
47 | -- | mdw.wbch.nlr.m9 | sp | 0.9 | (0.88, 0.92) | 0.78 | (0.76, 0.8) | 0.79 | (0.78, 0.81) | 0.82 | (0.8, 0.84)
48 | -- | mdw.wbch.nlr.m9 | diag.acc | 0.5 | (0.48, 0.52) | 0.67 | (0.65, 0.69) | 0.68 | (0.66, 0.7) | 0.6 | (0.58, 0.62)
49 | -- | mdw.wbch.nlr.m9 | diag.or | 3.93 | (3.07, 5.05) | 1.45 | (1.17, 1.79) | 1.92 | (1.57, 2.34) | 1.98 | (1.65, 2.38)
50 | -- | mdw.wbch.nlr.m9 | youden | 0.2 | (0.16, 0.24) | 0.07 | (0.01, 0.13) | 0.13 | (0.07, 0.18) | 0.12 | (0.08, 0.17)
51 | -- | mdw.wbch.nlr.m9 | ppv | 0.86 | (0.83, 0.89) | 0.27 | (0.23, 0.31) | 0.34 | (0.3, 0.38) | 0.56 | (0.52, 0.6)
52 | 5 | mdw.wbch.nlr.m9 | npv | 0.39 | (0.36, 0.41) | 0.8 | (0.78, 0.82) | 0.79 | (0.77, 0.81) | 0.61 | (0.59, 0.63)
53 | 5 | mdw.wbch.nlr.m9 | plr | 3.05 | (2.45, 3.78) | 1.32 | (1.13, 1.54) | 1.61 | (1.4, 1.86) | 1.68 | (1.46, 1.93)
54 | -- | mdw.wbch.nlr.m9 | nlr | 0.77 | (0.75, 0.8) | 0.91 | (0.86, 0.96) | 0.84 | (0.79, 0.89) | 0.85 | (0.81, 0.89)
55 | -- | mdw.crp.m20 | se | 0.67 | (0.64, 0.69) | 0.69 | (0.65, 0.73) | 0.73 | (0.69, 0.76) | 0.68 | (0.66, 0.71)
56 | -- | mdw.crp.m20 | sp | 0.52 | (0.48, 0.55) | 0.42 | (0.39, 0.44) | 0.43 | (0.41, 0.45) | 0.45 | (0.42, 0.48)
57 | -- | mdw.crp.m20 | diag.acc | 0.62 | (0.6, 0.64) | 0.48 | (0.46, 0.5) | 0.5 | (0.48, 0.52) | 0.55 | (0.53, 0.57)
58 | -- | mdw.crp.m20 | diag.or | 2.14 | (1.81, 2.53) | 1.62 | (1.32, 1.98) | 2.05 | (1.68, 2.5) | 1.77 | (1.5, 2.08)
59 | -- | mdw.crp.m20 | youden | 0.18 | (0.13, 0.24) | 0.11 | (0.05, 0.17) | 0.16 | (0.1, 0.22) | 0.13 | (0.08, 0.19)
60 | -- | mdw.crp.m20 | ppv | 0.74 | (0.72, 0.76) | 0.25 | (0.22, 0.27) | 0.29 | (0.27, 0.31) | 0.48 | (0.46, 0.51)
61 | 5 | mdw.crp.m20 | npv | 0.43 | (0.4, 0.46) | 0.83 | (0.81, 0.85) | 0.83 | (0.81, 0.86) | 0.65 | (0.62, 0.68)
62 | 5 | mdw.crp.m20 | plr | 1.38 | (1.28, 1.49) | 1.19 | (1.11, 1.27) | 1.28 | (1.21, 1.37) | 1.24 | (1.17, 1.32)
63 | -- | mdw.crp.m20 | nlr | 0.64 | (0.59, 0.71) | 0.74 | (0.64, 0.84) | 0.63 | (0.54, 0.72) | 0.7 | (0.63, 0.78)
64 | -- | mdw.crp.m100 | se | 0.4 | (0.37, 0.42) | 0.41 | (0.37, 0.45) | 0.46 | (0.42, 0.5) | 0.43 | (0.4, 0.46)
65 | -- | mdw.crp.m100 | sp | 0.75 | (0.72, 0.78) | 0.67 | (0.65, 0.69) | 0.69 | (0.66, 0.71) | 0.71 | (0.69, 0.74)
66 | -- | mdw.crp.m100 | diag.acc | 0.51 | (0.49, 0.53) | 0.61 | (0.59, 0.63) | 0.63 | (0.61, 0.65) | 0.59 | (0.57, 0.61)
67 | -- | mdw.crp.m100 | diag.or | 1.97 | (1.64, 2.37) | 1.38 | (1.14, 1.68) | 1.83 | (1.52, 2.21) | 1.87 | (1.59, 2.2)
68 | -- | mdw.crp.m100 | youden | 0.15 | (0.09, 0.2) | 0.08 | (0.01, 0.14) | 0.14 | (0.08, 0.2) | 0.14 | (0.09, 0.2)
69 | -- | mdw.crp.m100 | ppv | 0.77 | (0.74, 0.79) | 0.25 | (0.22, 0.28) | 0.31 | (0.28, 0.35) | 0.53 | (0.5, 0.56)
70 | 5 | mdw.crp.m100 | npv | 0.38 | (0.35, 0.4) | 0.8 | (0.78, 0.82) | 0.8 | (0.78, 0.82) | 0.62 | (0.6, 0.65)
71 | 5 | mdw.crp.m100 | plr | 1.58 | (1.39, 1.81) | 1.23 | (1.09, 1.38) | 1.45 | (1.3, 1.62) | 1.5 | (1.35, 1.66)
72 | -- | mdw.crp.m100 | nlr | 0.8 | (0.76, 0.85) | 0.89 | (0.82, 0.96) | 0.79 | (0.73, 0.86) | 0.8 | (0.75, 0.85)
73 | -- | mdw.lct.m2 | se | 0.24 | (0.22, 0.26) | 0.32 | (0.28, 0.36) | 0.37 | (0.34, 0.41) | 0.4 | (0.37, 0.43)
74 | -- | mdw.lct.m2 | sp | 0.86 | (0.83, 0.88) | 0.82 | (0.8, 0.84) | 0.84 | (0.83, 0.86) | 0.94 | (0.92, 0.95)
75 | -- | mdw.lct.m2 | diag.acc | 0.44 | (0.42, 0.46) | 0.71 | (0.69, 0.73) | 0.73 | (0.71, 0.75) | 0.71 | (0.69, 0.72)
76 | -- | mdw.lct.m2 | diag.or | 1.94 | (1.55, 2.43) | 2.15 | (1.74, 2.66) | 3.21 | (2.62, 3.93) | 10.03 | (7.87, 12.79)
77 | -- | mdw.lct.m2 | youden | 0.1 | (0.06, 0.14) | 0.14 | (0.08, 0.2) | 0.22 | (0.16, 0.27) | 0.34 | (0.3, 0.38)
78 | -- | mdw.lct.m2 | ppv | 0.78 | (0.74, 0.81) | 0.33 | (0.29, 0.37) | 0.43 | (0.39, 0.47) | 0.83 | (0.79, 0.86)
79 | 5 | mdw.lct.m2 | npv | 0.35 | (0.33, 0.38) | 0.81 | (0.8, 0.83) | 0.81 | (0.79, 0.83) | 0.67 | (0.65, 0.69)
80 | 5 | mdw.lct.m2 | plr | 1.72 | (1.42, 2.07) | 1.78 | (1.53, 2.08) | 2.38 | (2.06, 2.75) | 6.4 | (5.18, 7.89)
81 | -- | mdw.lct.m2 | nlr | 0.88 | (0.85, 0.92) | 0.83 | (0.78, 0.88) | 0.74 | (0.7, 0.79) | 0.64 | (0.61, 0.67)
82 | -- | mdw.lct.m3.9 | se | 0.07 | (0.06, 0.09) | 0.14 | (0.11, 0.17) | 0.14 | (0.12, 0.17) | 0.13 | (0.11, 0.15)
83 | -- | mdw.lct.m3.9 | sp | 0.97 | (0.95, 0.98) | 0.96 | (0.95, 0.97) | 0.97 | (0.96, 0.97) | 0.99 | (0.98, 1)
84 | -- | mdw.lct.m3.9 | diag.acc | 0.37 | (0.35, 0.39) | 0.78 | (0.77, 0.8) | 0.77 | (0.75, 0.78) | 0.62 | (0.6, 0.64)
85 | -- | mdw.lct.m3.9 | diag.or | 2.5 | (1.63, 3.85) | 3.91 | (2.81, 5.45) | 4.76 | (3.41, 6.64) | 16.25 | (9.16, 28.85)
86 | -- | mdw.lct.m3.9 | youden | 0.04 | (0.02, 0.07) | 0.1 | (0.06, 0.14) | 0.11 | (0.07, 0.15) | 0.12 | (0.09, 0.14)
87 | -- | mdw.lct.m3.9 | ppv | 0.83 | (0.76, 0.89) | 0.49 | (0.41, 0.58) | 0.57 | (0.49, 0.65) | 0.92 | (0.86, 0.95)
88 | 5 | mdw.lct.m3.9 | npv | 0.34 | (0.32, 0.36) | 0.8 | (0.78, 0.82) | 0.78 | (0.76, 0.8) | 0.6 | (0.58, 0.62)
89 | 5 | mdw.lct.m3.9 | plr | 2.39 | (1.58, 3.61) | 3.51 | (2.6, 4.75) | 4.22 | (3.11, 5.73) | 14.31 | (8.15, 25.12)
90 | -- | mdw.lct.m3.9 | nlr | 0.96 | (0.94, 0.97) | 0.9 | (0.87, 0.93) | 0.89 | (0.86, 0.92) | 0.88 | (0.86, 0.9)
91 | -- | wbc.hi | se | 0.6 | (0.58, 0.62) | 0.54 | (0.5, 0.58) | 0.54 | (0.5, 0.58) | 0.57 | (0.54, 0.6)
92 | -- | wbc.hi | sp | 0.69 | (0.66, 0.72) | 0.5 | (0.48, 0.53) | 0.5 | (0.48, 0.53) | 0.54 | (0.52, 0.57)
93 | -- | wbc.hi | diag.acc | 0.63 | (0.61, 0.65) | 0.51 | (0.49, 0.53) | 0.51 | (0.49, 0.53) | 0.56 | (0.54, 0.58)
94 | -- | wbc.hi | diag.or | 3.32 | (2.79, 3.96) | 1.19 | (0.99, 1.44) | 1.2 | (1, 1.44) | 1.59 | (1.36, 1.86)
95 | -- | wbc.hi | youden | 0.29 | (0.23, 0.34) | 0.04 | (-0.02, 0.11) | 0.05 | (-0.02, 0.11) | 0.12 | (0.06, 0.17)
96 | -- | wbc.hi | ppv | 0.8 | (0.78, 0.82) | 0.23 | (0.21, 0.26) | 0.26 | (0.23, 0.28) | 0.49 | (0.46, 0.51)
97 | 5 | wbc.hi | npv | 0.46 | (0.43, 0.48) | 0.8 | (0.77, 0.82) | 0.78 | (0.75, 0.8) | 0.63 | (0.6, 0.65)
98 | 5 | wbc.hi | plr | 1.93 | (1.73, 2.15) | 1.09 | (1, 1.19) | 1.09 | (1, 1.19) | 1.25 | (1.16, 1.35)
99 | -- | wbc.hi | nlr | 0.58 | (0.54, 0.62) | 0.91 | (0.83, 1.01) | 0.91 | (0.83, 1) | 0.79 | (0.73, 0.86)
100 | -- | nlr.m3 | se | 0.91 | (0.89, 0.92) | 0.94 | (0.91, 0.95) | 0.93 | (0.9, 0.95) | 0.92 | (0.91, 0.94)
101 | -- | nlr.m3 | sp | 0.16 | (0.13, 0.18) | 0.13 | (0.11, 0.14) | 0.13 | (0.11, 0.14) | 0.14 | (0.12, 0.16)
102 | -- | nlr.m3 | diag.acc | 0.66 | (0.64, 0.68) | 0.3 | (0.29, 0.32) | 0.32 | (0.3, 0.34) | 0.48 | (0.46, 0.5)
103 | -- | nlr.m3 | diag.or | 1.85 | (1.45, 2.37) | 2.1 | (1.46, 3.02) | 1.88 | (1.34, 2.62) | 2 | (1.53, 2.61)
104 | -- | nlr.m3 | youden | 0.07 | (0.03, 0.11) | 0.06 | (0.02, 0.1) | 0.05 | (0.02, 0.09) | 0.07 | (0.03, 0.1)
105 | -- | nlr.m3 | ppv | 0.69 | (0.67, 0.71) | 0.23 | (0.21, 0.25) | 0.25 | (0.23, 0.27) | 0.45 | (0.43, 0.47)
106 | 5 | nlr.m3 | npv | 0.46 | (0.4, 0.51) | 0.88 | (0.83, 0.91) | 0.85 | (0.8, 0.89) | 0.71 | (0.65, 0.76)
107 | 5 | nlr.m3 | plr | 1.08 | (1.04, 1.11) | 1.07 | (1.04, 1.1) | 1.06 | (1.03, 1.09) | 1.08 | (1.05, 1.11)
108 | -- | nlr.m3 | nlr | 0.58 | (0.47, 0.72) | 0.51 | (0.36, 0.71) | 0.57 | (0.42, 0.77) | 0.54 | (0.42, 0.69)
109 | -- | nlr.m9 | se | 0.54 | (0.52, 0.57) | 0.55 | (0.51, 0.59) | 0.6 | (0.56, 0.64) | 0.57 | (0.54, 0.6)
110 | -- | nlr.m9 | sp | 0.63 | (0.6, 0.66) | 0.53 | (0.51, 0.55) | 0.55 | (0.53, 0.57) | 0.58 | (0.55, 0.6)
111 | -- | nlr.m9 | diag.acc | 0.57 | (0.55, 0.59) | 0.54 | (0.52, 0.56) | 0.56 | (0.54, 0.58) | 0.57 | (0.55, 0.59)
112 | -- | nlr.m9 | diag.or | 2.03 | (1.72, 2.41) | 1.39 | (1.15, 1.68) | 1.81 | (1.5, 2.17) | 1.79 | (1.52, 2.09)
113 | -- | nlr.m9 | youden | 0.17 | (0.12, 0.23) | 0.08 | (0.02, 0.15) | 0.15 | (0.08, 0.21) | 0.14 | (0.09, 0.2)
114 | -- | nlr.m9 | ppv | 0.75 | (0.73, 0.78) | 0.25 | (0.22, 0.27) | 0.29 | (0.27, 0.32) | 0.5 | (0.48, 0.53)
115 | 5 | nlr.m9 | npv | 0.4 | (0.38, 0.43) | 0.81 | (0.79, 0.83) | 0.81 | (0.79, 0.83) | 0.64 | (0.61, 0.66)
116 | 5 | nlr.m9 | plr | 1.47 | (1.33, 1.62) | 1.18 | (1.08, 1.28) | 1.32 | (1.22, 1.44) | 1.34 | (1.24, 1.45)
117 | -- | nlr.m9 | nlr | 0.72 | (0.67, 0.78) | 0.84 | (0.76, 0.93) | 0.73 | (0.66, 0.81) | 0.75 | (0.69, 0.81)
118 | -- | crp.m20 | se | 0.84 | (0.82, 0.86) | 0.84 | (0.81, 0.87) | 0.85 | (0.82, 0.88) | 0.84 | (0.82, 0.86)
119 | -- | crp.m20 | sp | 0.3 | (0.27, 0.33) | 0.22 | (0.2, 0.24) | 0.22 | (0.2, 0.24) | 0.24 | (0.22, 0.26)
120 | -- | crp.m20 | diag.acc | 0.66 | (0.64, 0.68) | 0.35 | (0.33, 0.37) | 0.37 | (0.36, 0.39) | 0.5 | (0.48, 0.52)
121 | -- | crp.m20 | diag.or | 2.2 | (1.81, 2.69) | 1.44 | (1.12, 1.85) | 1.64 | (1.28, 2.11) | 1.67 | (1.37, 2.05)
122 | -- | crp.m20 | youden | 0.14 | (0.09, 0.19) | 0.06 | (0, 0.1) | 0.07 | (0.03, 0.12) | 0.08 | (0.04, 0.12)
123 | -- | crp.m20 | ppv | 0.71 | (0.69, 0.73) | 0.23 | (0.21, 0.25) | 0.26 | (0.24, 0.28) | 0.46 | (0.43, 0.48)
124 | 5 | crp.m20 | npv | 0.47 | (0.43, 0.52) | 0.83 | (0.79, 0.86) | 0.83 | (0.79, 0.86) | 0.67 | (0.62, 0.71)
125 | 5 | crp.m20 | plr | 1.19 | (1.14, 1.25) | 1.07 | (1.03, 1.12) | 1.1 | (1.05, 1.14) | 1.11 | (1.06, 1.15)
126 | -- | crp.m20 | nlr | 0.54 | (0.47, 0.63) | 0.74 | (0.6, 0.92) | 0.67 | (0.54, 0.82) | 0.66 | (0.56, 0.78)
127 | -- | crp.m100 | se | 0.46 | (0.44, 0.49) | 0.46 | (0.42, 0.5) | 0.5 | (0.46, 0.54) | 0.49 | (0.46, 0.52)
128 | -- | crp.m100 | sp | 0.69 | (0.65, 0.72) | 0.6 | (0.58, 0.62) | 0.61 | (0.59, 0.63) | 0.64 | (0.62, 0.67)
129 | -- | crp.m100 | diag.acc | 0.54 | (0.52, 0.55) | 0.57 | (0.55, 0.59) | 0.58 | (0.57, 0.6) | 0.58 | (0.56, 0.6)
130 | -- | crp.m100 | diag.or | 1.89 | (1.58, 2.25) | 1.29 | (1.06, 1.56) | 1.56 | (1.3, 1.88) | 1.72 | (1.46, 2.01)
131 | -- | crp.m100 | youden | 0.15 | (0.09, 0.2) | 0.06 | (0, 0.13) | 0.11 | (0.05, 0.17) | 0.13 | (0.08, 0.19)
132 | -- | crp.m100 | ppv | 0.75 | (0.73, 0.78) | 0.24 | (0.22, 0.27) | 0.29 | (0.26, 0.32) | 0.51 | (0.48, 0.54)
133 | 5 | crp.m100 | npv | 0.38 | (0.36, 0.41) | 0.8 | (0.78, 0.82) | 0.79 | (0.77, 0.81) | 0.62 | (0.6, 0.65)
134 | 5 | crp.m100 | plr | 1.48 | (1.32, 1.65) | 1.15 | (1.04, 1.28) | 1.28 | (1.16, 1.41) | 1.37 | (1.25, 1.5)
135 | -- | crp.m100 | nlr | 0.78 | (0.73, 0.83) | 0.9 | (0.82, 0.98) | 0.82 | (0.75, 0.9) | 0.8 | (0.74, 0.85)
136 | -- | lct.m2 | se | 0.33 | (0.3, 0.35) | 0.41 | (0.37, 0.46) | 0.47 | (0.43, 0.51) | 0.55 | (0.52, 0.58)
137 | -- | lct.m2 | sp | 0.72 | (0.69, 0.75) | 0.72 | (0.7, 0.74) | 0.74 | (0.72, 0.76) | 0.87 | (0.85, 0.89)
138 | -- | lct.m2 | diag.acc | 0.46 | (0.44, 0.48) | 0.65 | (0.63, 0.67) | 0.67 | (0.65, 0.69) | 0.73 | (0.72, 0.75)
139 | -- | lct.m2 | diag.or | 1.26 | (1.05, 1.51) | 1.8 | (1.49, 2.19) | 2.46 | (2.04, 2.97) | 8.35 | (6.88, 10.14)
140 | -- | lct.m2 | youden | 0.05 | (0, 0.1) | 0.13 | (0.07, 0.19) | 0.2 | (0.14, 0.26) | 0.42 | (0.37, 0.47)
141 | -- | lct.m2 | ppv | 0.71 | (0.67, 0.74) | 0.29 | (0.26, 0.32) | 0.36 | (0.33, 0.39) | 0.77 | (0.73, 0.79)
142 | 5 | lct.m2 | npv | 0.34 | (0.32, 0.37) | 0.82 | (0.8, 0.83) | 0.81 | (0.79, 0.83) | 0.72 | (0.7, 0.74)
143 | 5 | lct.m2 | plr | 1.18 | (1.03, 1.34) | 1.47 | (1.3, 1.66) | 1.78 | (1.59, 1.99) | 4.3 | (3.73, 4.97)
144 | -- | lct.m2 | nlr | 0.93 | (0.88, 0.98) | 0.82 | (0.76, 0.88) | 0.72 | (0.67, 0.78) | 0.52 | (0.48, 0.55)
145 | -- | lct.m3.9 | se | 0.1 | (0.08, 0.11) | 0.17 | (0.14, 0.2) | 0.17 | (0.14, 0.2) | 0.17 | (0.15, 0.19)
146 | -- | lct.m3.9 | sp | 0.93 | (0.91, 0.95) | 0.94 | (0.92, 0.95) | 0.94 | (0.93, 0.95) | 0.97 | (0.97, 0.98)
147 | -- | lct.m3.9 | diag.acc | 0.37 | (0.35, 0.39) | 0.77 | (0.75, 0.79) | 0.76 | (0.74, 0.77) | 0.63 | (0.61, 0.65)
148 | -- | lct.m3.9 | diag.or | 1.41 | (1.03, 1.93) | 2.92 | (2.19, 3.88) | 3.22 | (2.43, 4.26) | 7.72 | (5.37, 11.09)
149 | -- | lct.m3.9 | youden | 0.03 | (-0.01, 0.06) | 0.1 | (0.06, 0.15) | 0.11 | (0.07, 0.15) | 0.14 | (0.11, 0.17)
150 | -- | lct.m3.9 | ppv | 0.74 | (0.68, 0.8) | 0.42 | (0.35, 0.49) | 0.47 | (0.41, 0.54) | 0.83 | (0.78, 0.88)
151 | 5 | lct.m3.9 | npv | 0.33 | (0.31, 0.35) | 0.8 | (0.79, 0.82) | 0.78 | (0.76, 0.8) | 0.61 | (0.59, 0.63)
152 | 5 | lct.m3.9 | plr | 1.37 | (1.03, 1.83) | 2.6 | (2.03, 3.34) | 2.84 | (2.22, 3.64) | 6.6 | (4.68, 9.31)
153 | -- | lct.m3.9 | nlr | 0.97 | (0.95, 1) | 0.89 | (0.86, 0.93) | 0.88 | (0.85, 0.92) | 0.85 | (0.83, 0.88)

## sepsis_auc
# | Figure | marker | auc_sepsis.si | ci_sepsis.si | auc_sepsis.qs | ci_sepsis.qs | auc_sepsis.so | ci_sepsis.so | auc_sepsis.re | ci_sepsis.re
1 | 4 | mdw | 0.62 | (0.59, 0.64) | 0.59 | (0.56, 0.61) | 0.63 | (0.6, 0.65) | 0.58 | (0.56, 0.61)
2 | 4 | wbc | 0.67 | (0.65, 0.69) | 0.53 | (0.51, 0.56) | 0.53 | (0.5, 0.56) | 0.57 | (0.55, 0.6)
3 | 4 | nlr | 0.62 | (0.6, 0.64) | 0.57 | (0.54, 0.59) | 0.6 | (0.57, 0.63) | 0.6 | (0.58, 0.63)
4 | 4 | crp | 0.62 | (0.6, 0.65) | 0.54 | (0.52, 0.57) | 0.58 | (0.55, 0.61) | 0.59 | (0.56, 0.61)
5 | 4 | lct | 0.54 | (0.51, 0.56) | 0.61 | (0.58, 0.64) | 0.62 | (0.6, 0.65) | 0.74 | (0.72, 0.76)
6 | 4 | mdw_wbc | 0.71 | (0.69, 0.73) | 0.59 | (0.57, 0.62) | 0.63 | (0.61, 0.66) | 0.61 | (0.59, 0.64)
7 | 4 | mdw_nlr | 0.66 | (0.64, 0.68) | 0.6 | (0.57, 0.62) | 0.64 | (0.62, 0.67) | 0.62 | (0.59, 0.64)
8 | 4 | mdw_wbc_nlr | 0.71 | (0.69, 0.74) | 0.6 | (0.57, 0.62) | 0.64 | (0.62, 0.67) | 0.63 | (0.6, 0.65)
9 | 4 | mdw_crp | 0.64 | (0.62, 0.66) | 0.59 | (0.56, 0.61) | 0.63 | (0.6, 0.65) | 0.6 | (0.58, 0.62)
10 | 4 | mdw_lct | 0.62 | (0.59, 0.64) | 0.62 | (0.59, 0.65) | 0.66 | (0.64, 0.69) | 0.74 | (0.72, 0.76)

## ad_hoc_infection
# | marker | rowname | Est_Infection | 95%CI_Infection
1 | mdw.m20 | se | 0.72 | (0.7, 0.74)
2 | mdw.m20 | sp | 0.64 | (0.59, 0.7)
3 | mdw.m20 | diag.acc | 0.71 | (0.69, 0.73)
4 | mdw.m20 | diag.or | 4.62 | (3.58, 5.96)
5 | mdw.m20 | youden | 0.36 | (0.29, 0.44)
6 | mdw.m20 | ppv | 0.94 | (0.93, 0.95)
7 | mdw.m20 | npv | 0.23 | (0.2, 0.26)
8 | mdw.m20 | plr | 2.02 | (1.73, 2.35)
9 | mdw.m20 | nlr | 0.44 | (0.39, 0.49)
10 | mdw | auc | 0.72 | (0.69, 0.75)

## plots
Sensitivity and specificity for MDW and other sepsis markers across different definitions
Note this follows the data in 'sepsis_accuracy'