Supplemental Material

Analytical error of cardiac troponin and impact on the performance of accelerated diagnostic protocols in patients with acute chest pain

Nasir Saeed1, Ingar Z. Restan2, Ole-Thomas Steiro3, Hilde L. Tjora4, Jørund Langørgen3, Øyvind Skadberg5, Øistein R. Mjelva6, Vernon V.S. Bonarjee2, Rune Bjørneklett7,4, Trude Steinsvik8, Kjell Vikenes1,3, Torbjørn Omland9,10, Fred S. Apple11,12, Allan S. Jaffe13, Nicholas L. Mills14,15, Paul O. Collinson16,17, Peter A. Kavsak18, Kristin M. Aakre1,3,19

Running head: Bias of cardiac troponin and impact on ADPs

1Department of Clinical Science, University of Bergen, Bergen, Norway

2Department of Cardiology, Stavanger University Hospital, Stavanger, Norway

3Department of Heart Disease, Haukeland University Hospital, Bergen, Norway

4Emergency Care Clinic, Haukeland University Hospital, Bergen, Norway

5Laboratory of Clinical Biochemistry, Stavanger University Hospital, Stavanger, Norway

6Department of Medicine, Stavanger University Hospital, Stavanger, Norway

7Department of Clinical Medicine, University of Bergen, Bergen, Norway

8Department of Laboratory Medicine, Vestre Viken Hospital Trust, Bærum, Norway

9K.G. Jebsen Centre for Cardiac Biomarkers, Institute of Clinical Medicine, University of Oslo, Oslo, Norway.

10Department of Cardiology, Akershus University Hospital, Oslo, Norway

11Department of Laboratory Medicine and Pathology, Hennepin Healthcare/HCMC, MN, USA

11Department of Laboratory Medicine and Pathology, University of Minnesota, MN, USA

12Hennepin Healthcare Research Institute, Minneapolis, MN, USA

13Departments of Cardiology and Laboratory Medicine and Pathology, Mayo Clinic, Rochester, MN, USA

14BHF Centre for Cardiovascular Science, University of Edinburgh, Edinburgh, UK

15Usher Institute, University of Edinburgh, Edinburgh, UK

16Cardiovascular Clinical Academic Group, Molecular and Clinical Sciences Research Institute, St. George's, University of London, United Kingdom

17City St George’s University of London, London, United Kingdom

18Department of Pathology and Molecular Medicine, McMaster University, Hamilton, Ontario, Canada

19Department of Medical Biochemistry and Pharmacology, Haukeland University Hospital, Bergen, Norway

Corresponding author:

Professor Kristin Moberg Aakre

Department of Heart Disease, Department of Medical Biochemistry and Pharmacology.

Haukeland University Hospital, Jonas Lies vei 65, 5021 Bergen, Norway

Tel.: +47 55974387

Fax: +47 55975976

E-mail: kristin.moberg.aakre@helse-bergen.no

Supplemental Material

Supplemental Methods

Laboratory procedures and analyses

Clinical adjudication

Accelerated diagnostic protocols

Supplemental Tables

Supplemental table 1

Supplemental table 2

Supplemental table 3

Laboratory procedures and analyses

Blood samples (serum) were centrifuged within 60 minutes and cTnT was measured by a high-sensitivity cTnT assay from Roche Diagnostics using Cobas e602 and e801 in fresh samples. Serum was frozen and stored at –80 degree Celsius for a maximum of five years for later measurements of hs-cTnI. Biobank samples that had not been thawed previously were analyzed by two different high sensitivity cTnI assays; an assay from Abbott Diagnostics (hs-cTnI-A) using ARCHITECT i2000 and Alinity, and an assay from Siemens Healthineers (hs-cTnI-S) using Atellica IM. All samples were thawed and centrifuged prior to batch analysis per manufacturer recommendation. The hs-cTnT assay has a limit of blank (LoB) of 3 ng/L, limit of detection (LoD) of 5 ng/L, limit of quantification (LoQ) at 6 ng/L, a uniform 99th percentile upper reference limit (URL) of 14 ng/L and a range of measurement of 3 -10 000 ng/L (1).  The in-house 10% analytical within-series coefficient of variation (CVA) was at 4.5 ng/L and CVA was <5% for concentrations of 10 ng/L or higher. A total of eight different reagents and calibrator lots were used during the study. The hs-cTnI-S measurements were performed on the Atellica IM assay with a LoB of 0.5 ng/L, LoD of 1.6 ng/L with an LoQ of 2.5 ng/L, and a uniform 99th percentile URL of 45 ng/L, a measuring range of 2.5-25 000 ng/L (1). The 10% CVA was at 6 ng/L and one set of reagent and calibrator lots were used while analyzing the samples. The hs-cTnI-A measurements were made using the ARCHITECT i2000 (2/3 of samples) and ALINITY (1/3 of samples) system. These assays have a LoB of 1.0 ng/L, LoD of 1.6 ng/L, LoQ of 1.3 ng/L and a uniform 99th percentile URL of 26 ng/L. The measurement range was 2-50 000 ng/L and the 10% CVA was 4.7 ng/L (1). A total of 7 reagent and calibrator lots were used while analyzing the study samples. Concentrations below the LoB; (3 ng/L for hs-cTnT, 0.5 ng/L for hs-cTnI-S and 1.0 ng/L for hs-cTnI-A) were assigned new concentrations corresponding to half the LoB concentration of the assay. For the current analysis the concentration value of all hs-cTn assays were reported with one decimal. Estimated glomerular filtration rate (eGFR) was calculated by the Chronic Kidney Disease Epidemiology Collaboration 2009 formula using an enzymatic isotope dilution-mass spectrometry traceable creatinine assay (Roche Diagnostics) with a CVA for concentrations above 60 µmol/L (0.68 mg/dL) of <3% (2).

Clinical adjudication

The clinical diagnosis during the index event was adjudicated by two independent cardiologists using all available information from medical records including physical examination, electrocardiogram, laboratory tests and imaging investigations. MI was diagnosed in accordance with the 3rd Universal definition of Myocardial Infarction that was applicable during the planning of the study (3) using the hs-cTnT assay with a uniform 99th percentile upper reference limit cut-off at 14 ng/L.

Accelerated diagnostic protocols

The hs-cTn 0/1-hour algorithms apply the hs-cTn concentrations upon arrival (i.e. ED presentation, 0 hour) and their absolute changes of delta values (between 0 hour and 1 hour) to triage patients for rule-in (high risk), observation (intermediate risk) or rule-out (low risk) status. This study applied assay-specific cut-offs from the ESC guidelines (Supplemental Table 1), whilst for the Alinity and Atellica platform no ESC cut-offs are available yet and we opted for cut-offs derived for ARCHITECT and Centaur, respectively (4). The decision point for rounding was defined to one decimal place (e.g. <5.0, <12.0). First, for the hs-cTnT assay, patients with an initial value below 5 ng/L (patients with >3 hours since onset of symptoms), or an initial value below 12 ng/L and absolute delta value of less than 3 ng/L at 1 hour was designated to the rule-out group. For the hs-cTnI-S patients with an initial value less than 4 ng/L (≥ 3 hours since onset of symptoms), or an initial value of less than 5 ng/L and a delta of less than 2 ng/L were allocated to the rule-out group. Lastly, for the hs-cTnI-A an initial value of below 4 ng/L (≥ 3 hours since onset of symptoms), or an initial value of less than 5 ng/L and a delta of less than 2 ng/L was consistent with rule-out status.

References:

1.	International Federation of Clinical Chemistry and Laboratory Medicine Cardiac Biomarker Reference Tables. https://ifccorg/ifcc-education-division/emd-committees/committee-on-clinical-applications-of-cardiac-bio-markers-c-cb/biomarkers-reference-tables/ 2024;v062024. Assessed July 2024.

2.	Levey AS, Stevens LA, Schmid CH, Zhang YL, Castro AF, 3rd, Feldman HI, et al. A new equation to estimate glomerular filtration rate. Ann Intern Med 2009 May 5;150:9:604-12. Epub 2009/05/06 as doi: 10.7326/0003-4819-150-9-200905050-00006.

3.	Thygesen K, Alpert JS, Jaffe AS, Simoons ML, Chaitman BR, White HD, Joint ESCAAHAWHFTFftUDoM. Third universal definition of myocardial infarction. Eur Heart J 2012 Oct;33:20:2551-67. Epub 2012/08/28 as doi: 10.1093/eurheartj/ehs184.

4.	Collet J-P, Thiele H, Barbato E, Barthélémy O, Bauersachs J, Bhatt DL, et al. 2020 ESC Guidelines for the management of acute coronary syndromes in patients presenting without persistent ST-segment elevation: The Task Force for the management of acute coronary syndromes in patients presenting without persistent ST-segment elevation of the European Society of Cardiology (ESC). European Heart Journal 2020;42:14:1289-367 as doi: 10.1093/eurheartj/ehaa575.

Supplemental table 1: Summary of high-sensitivity cardiac troponin (hs-cTn) assay-specific cut-off levels in ng/L within the 0/1-hour and 0/2-hour algorithms as per European Society of Cardiology guidelines.

| Assay | Very low | Low | 0/1-h delta | High | 1-h delta |
| --- | --- | --- | --- | --- | --- |
| hs-cTnT (Elecsys; Roche) | <5 | <12 | <3 | 52 | 5 |
| hs-cTnI (Architect; Abbott) | <4 | <5 | <2 | 64 | 6 |
| hs-cTnI (Centaur; Siemens Atellica) | <3 | <6 | <3 | 120 | 12 |

Supplemental table 2: Summary of performance for single-sample rule-out algorithms for identifying primary endpoint of 30-day MI and death in patients hospitalized for acute chest pain after adding the bias of hs-cTn, stratified between patient groups with early-presenters excluded and all-comers.

| Algorithm | Total error applied | Sensitivity |  | Rule-out |  |
| --- | --- | --- | --- | --- | --- |
| hs-cTnT (Roche Diagnostics) |  | Early-presenters excluded | All-comers | Early-presenters excluded | All-comers |
| hs-cTnT < 5 ng/L | Original data | 99.2 (95.9-100.0) | 98.9 (96.1-99.9) | 29.4 | 30.0 |
| Positive bias | +biasmin95%CI (+2.8 ng/L) | 100.0 (97.3-100.0) | 100.0 (98.0-100.0) | 15.4 | 16.2 |
|  | +biasmean (+3.8 ng/L) | 100.0 (98.0-100.0) | 100.0 (98.0-100.0) | NC | NC |
|  | +biasmax95%CI (+4.7 ng/L) | 100.0 (97.3-100.0) | 100.0 (98.0-100.0) | NC | NC |
| Negative bias | -biasmin95%CI (-2.8 ng/L) | 97.0 (92.5-99.2) | 96.2 (92.3-98.4) | 51.1 | 51.3 |
|  | -biasmean (-3.8 ng/L) | 95.5 (90.4-98.3) | 94.5 (90.2-97.3) | 55.8 | 55.9 |
|  | -biasmax95%CI (-4.7 ng/L) | 95.5 (90.2-98.3) | 94.5 (90.2-97.3) | 60.0 | 59.7 |
| hs-cTnI (Abbott Diagnostics) |  |  |  |  |  |
| hs-cTnI < 4 ng/L | Original data | 97.7 (93.5-99.5) | 96.2 (92.2-98.4) | 52.1 | 52.0 |
| Positive bias | +biasmin95%CI (+1.3 ng/L) | 98.5 (94.7-99.8) | 97.8 (94.5-99.4) | 34.1 | 34.4 |
|  | +biasmean (+1.5 ng/L) | 98.5 (94.7-99.9) | 97.8 (94.5-99.4) | 31.2 | 31.2 |
|  | +biasmax95%CI (+1.6 ng/L) | 98.5 (94.7-99.8) | 98.4 (95.3-99.7) | 28.2 | 28.5 |
| Negative bias | -biasmin95%CI (-1.3 ng/L) | 99.4 (98.6-99.8) | 94.0 (90.1-97.3) | 60.9 | 61.2 |
|  | -biasmean (-1.5 ng/L) | 96.2 (91.4-98.8) | 94.0 (89.4-96.9) | 62.2 | 62.4 |
|  | -biasmax95%CI (-1.6 ng/L) | 96.2 (91.4-98.8) | 94.0 (89.4-96.9) | 62.7 | 62.9 |
| hs-cTnI (Siemens Healthineers) |  |  |  |  |  |
| hs-cTnI < 3 ng/L | Original data | 99.2 (95.9-100.0) | 99.5 (97.0-100.0) | 17.8 | 18.4 |
| Positive bias | +biasmin95%CI (+1.1 ng/L) | 100.0 (97.3-100.0) | 100.0 (98.0-100.0) | 5.7 | 5.7 |
|  | +biasmean (+1.3 ng/L) | 100.0 (97.3-100.0) | 100.0 (98.0-100.0) | 4.2 | 4.2 |
|  | +biasmax95%CI (+1.4 ng/L) | 100.0 (97.3-100.0) | 100.0 (98.0-100.0) | 3.5 | 3.5 |
| Negative bias | -biasmin95%CI (-1.1 ng/L) | 99.2 (95.9-100.0) | 99.5 (97.0-100.0) | 32.4 | 33.2 |
|  | -biasmean (-1.3 ng/L) | 99.2 (95.9-100.0) | 99.5 (99.1-100.0) | 34.6 | 35.4 |
|  | -biasmax95%CI (-1.4 ng/L) | 99.2 (95.9-100.0) | 99.5 (97.0-100.0) | 35.5 | 36.4 |

Supplemental table 3: Summary of performance for single-sample rule-out algorithms for identifying secondary endpoint of index MI in patients hospitalized for acute chest pain after adding the bias of hs-cTn, stratified between patient groups with early-presenters excluded and all-comers.

| Algorithm | Total error applied | Sensitivity |  | Rule-out |  |
| --- | --- | --- | --- | --- | --- |
| hs-cTnT (Roche Diagnostics) |  | Early-presenters excluded | All-comers | Early-presenters excluded | All-comers |
| hs-cTnT < 5 ng/L | Original data | 99.2 (95.6-100.0) | 98.8 (95.9-99.9) | 29.4 | 30.0 |
| Positive bias | +biasmin95%CI (+2.8 ng/L) | 100.0 (97.1-100.0) | 100.0 (97.9-100.0) | 15.4 | 16.2 |
|  | +biasmean (+3.8 ng/L) | 100.0 (97.1-100.0) | 100.0 (97.9-100.0) | NC | NC |
|  | +biasmax95%CI (+4.7 ng/L) | 100.0 (97.9-100.0) | 100.0 (97.9-100.0) | NC | NC |
| Negative bias | -biasmin95%CI (-2.8 ng/L) | 97.6 (93.1-99.5) | 96.5 (92.6-98.7) | 51.1 | 51.3 |
|  | -biasmean (-3.8 ng/L) | 96.0 (90.9-98.7) | 94.8 (90.4-97.6) | 55.8 | 55.9 |
|  | -biasmax95%CI (-4.7 ng/L) | 96.0 (90.9-98.7) | 94.8 (90.4-97.6) | 60.0 | 59.7 |
| hs-cTnI (Abbott Diagnostics) |  |  |  |  |  |
| hs-cTnI < 4 ng/Lc | Original data | 97.6 (93.1-99.5) | 95.9 (91.8-98.3) | 52.1 | 52.0 |
| Positive bias | +biasmin95%CI (+1.3 ng/L) | 98.4 (94.3-99.8) | 97.7 (94.2-99.4) | 34.1 | 34.4 |
|  | +biasmean (+1.5 ng/L) | 98.4 (94.3-99.8) | 97.7 (94.2-99.4) | 31.2 | 31.2 |
|  | +biasmax95%CI (+1.6 ng/L) | 98.4 (94.3-99.8) | 98.3 (95.0-99.6) | 28.2 | 28.5 |
| Negative bias | -biasmin95%CI (-1.3 ng/L) | 97.6 (93.1-99.5) | 94.8 (90.3-97.6) | 60.9 | 61.2 |
|  | -biasmean (-1.5 ng/L) | 96.8 (92.0-99.1) | 94.2 (89.6-97.2) | 62.2 | 62.4 |
|  | -biasmax95%CI (-1.6 ng/L) | 96.8 (92.0-99.1) | 94.2 (89.6-97.2) | 62.7 | 62.9 |
| hs-cTnI (Siemens Healthineers) |  |  |  |  |  |
| Hs-cTnI < 3 ng/L | Original data | 99.2 (95.6-100.0) | 99.4 (96.8-100.0) | 17.8 | 18.4 |
| Positive bias | +biasmin95%CI (+1.1 ng/L) | 100.0 (97.1 -100.0) | 100.0 (97.9-100.0) | 5.7 | 5.7 |
|  | +biasmean (+1.3 ng/L) | 100.0 (97.1-100.0) | 100.0 (97.9-100.0) | 4.2 | 4.2 |
|  | +biasmax95%CI (+1.4 ng/L) | 100.0 (97.1-100.0) | 100.0 (97.9-100.0) | 3.5 | 3.5 |
| Negative bias | -biasmin95%CI (-1.1 ng/L) | 99.2 (95.6-100.0) | 99.4 (96.8-100.0) | 32.4 | 33.2 |
|  | -biasmean (-1.3 ng/L) | 99.2 (95.6-100.0) | 99.4 (96.8-100.0) | 34.6 | 35.4 |
|  | -biasmax95%CI (-1.4 ng/L) | 99.2 (95.6-100.0) | 99.4 (96.8-100.0) | 35.5 | 36.4 |