Table S1. Laboratory assays for iron and inflammatory biomarkers by study site.

| Site | Ferritin | Soluble transferrin receptor | Hepcidin | Serum iron | Transferrin | Unsaturated iron binding capacity | Zinc protoporphyrin | Hemoglobin/MCV | C-reactive protein | α1-antichymotrypsin |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Kenya | Microparticle Enzyme Immunoassay (Abbott Architect, USA) | Human sTfR ELISA (BioVendor, Czech Republic) | DRG Hepcidin 25 [bioactive] high sensitive ELISA (DRG International, USA) | MULTIGENT iron calorimetric assay, Abbott Architect, USA | Chemiluminescent Microparticle Immunoassay (Abbott Architect, USA) | Not measured | Not measured | Coulter analyser (ACT5Diff, Beckman Coulter, USA) | MULTIGENT CRP Vario assay, (Abbott Architect, USA) | Not measured |
| Uganda | Microparticle Enzyme Immunoassay (Abbott Architect, USA) | Human sTfR ELISA (BioVendor, Czech Republic) | DRG Hepcidin 25 [bioactive] high sensitive ELISA (DRG International, USA) | Not measured | Chemiluminescent Microparticle Immunoassay (Abbott Architect, USA) | Not measured | Not measured | Coulter analyser (Beckman Coulter, Nyon, Switzerland) | MULTIGENT CRP Vario assay, (Abbott Architect, USA) | Not measured |
| Burkina Faso | Microparticle Enzyme Immunoassay (Abbott Architect, USA) | Human sTfR ELISA (BioVendor, Czech Republic) | DRG Hepcidin 25 [bioactive] high sensitive ELISA (DRG International, USA) | MULTIGENT iron calorimetric assay, Abbott Architect, USA | Chemiluminescent Microparticle Immunoassay (Abbott Architect, USA) | Not measured | Not measured | Coulter analyser (Beckman Coulter, USA) | MULTIGENT CRP Vario assay, (Abbott Architect, USA) | Not measured |
| South Africa | Microparticle Enzyme Immunoassay (Abbott Architect, USA) | Human sTfR ELISA (BioVendor, Czech Republic) | DRG Hepcidin 25 [bioactive] high sensitive ELISA (DRG International, USA) | Not measured | Chemiluminescent Microparticle Immunoassay (Abbott Architect, USA) | Not measured | Not measured | Not measured | MULTIGENT CRP Vario assay, (Abbott Architect, USA) | Not measured |
| The Gambia | Microparticle Enzyme Immunoassay (Abbott Architect, USA) | Quantikine sTfR ELISA kit, (R&D Systems, USA) | Hepcidin-25 [human] Enzyme Immunoassay Kit (Bachem, Switzerland) | Ferrozine-based photometry and colorimetry analyser (Hitachi 911, Hitachi, Tokyo, Japan) | Not measured | Ferrozine-based photometry and colorimetry analyser (Hitachi 911, Hitachi, Tokyo, Japan) | Aviv Biomedical Hematoflurometer (within 24 hours of collection) | Medonic CA 530 Oden 16 Hemoglobinometer | Not measured | Immunoturbidimetry, Cobas Mira Plus Bio-analyser, Roche |